## Slide 1: Draft BMP Verification Protocols for Non-significant WWTPs Combined Sewer Overflows On-site Wastewater Treatment Systems CBPO Wastewater Workgroup

## Slide 2: Draft Verification Protocols for Non-significant WWTPs

## Slide 3: Draft Verification Protocols for CSOs

## Slide 4: Draft Verification Protocols for On-Site Systems

## Slide 5: Draft Verification Protocols for On-Site Systems

## Slide 6: Draft Verification Protocols for On-Site Systems
• State or local authorities should verify, track and report proper installation, O&M of onsite BMP systems.
• The design and installation onsite BMP systems should be done and reported by certified service providers.
• The maintenance and inspection of onsite BMP systems should be conducted and reported annually by certified providers and tracked by the authorities.
• Tracking and reporting through the databases managed by state agencies.