## Flow
Bay Wide FLOW mgd |  |  |  |  | MD FLOW mgd |  |  |  |  | PA FLOW mgd
Year | Beta5 | Beta4 | Difference | %Difference | Year | Beta5 | Beta4 | Difference | %Difference | Year | Beta5 | Beta4 | Difference | %Difference
1984 | 1872.0485 | 1810.7283 | 61.3202 | 3.386% | 1984 | 529.6222 | 465.1476 | 64.4746 | 13.86% | 1984 | 340.7749 | 350.1883 | -9.4134 | -2.688%
1985 | 1832.2973 | 1773.6789 | 58.6185 | 3.305% | 1985 | 505.8447 | 442.2909 | 63.5538 | 14.37% | 1985 | 350.5736 | 361.5162 | -10.9426 | -3.027%
1986 | 1855.5311 | 1791.9962 | 63.5349 | 3.545% | 1986 | 508.9998 | 442.4117 | 66.5881 | 15.05% | 1986 | 368.3007 | 377.4268 | -9.1261 | -2.418%
1987 | 1917.1073 | 1850.0801 | 67.0272 | 3.623% | 1987 | 508.829 | 439.5111 | 69.3179 | 15.77% | 1987 | 380.8926 | 389.3401 | -8.4475 | -2.17%
1988 | 1934.2803 | 1853.4459 | 80.8344 | 4.361% | 1988 | 520.5237 | 441.2641 | 79.2595 | 17.96% | 1988 | 389.3151 | 393.9031 | -4.588 | -1.165%
1989 | 2048.9437 | 1970.93 | 78.0137 | 3.958% | 1989 | 566.8625 | 488.6266 | 78.2359 | 16.01% | 1989 | 400.5102 | 406.7731 | -6.2629 | -1.54%
1990 | 2034.0196 | 1953.526 | 80.4935 | 4.12% | 1990 | 571.4994 | 491.4453 | 80.0542 | 16.29% | 1990 | 414.1458 | 419.7897 | -5.6439 | -1.344%
1991 | 1981.2782 | 1901.19 | 80.0883 | 4.213% | 1991 | 547.4595 | 467.5734 | 79.8861 | 17.09% | 1991 | 428.5051 | 433.0647 | -4.5596 | -1.053%
1992 | 2035.0934 | 1939.7526 | 95.3408 | 4.915% | 1992 | 553.9163 | 465.6371 | 88.2793 | 18.96% | 1992 | 447.7344 | 445.9085 | 1.8258 | 0.4095%
1993 | 2127.7488 | 2048.2005 | 79.5482 | 3.884% | 1993 | 566.5921 | 490.146 | 76.4461 | 15.6% | 1993 | 457.1089 | 458.9412 | -1.8323 | -0.3993%
1994 | 2162.2754 | 2086.4752 | 75.8002 | 3.633% | 1994 | 566.9741 | 491.1821 | 75.792 | 15.43% | 1994 | 472.1591 | 473.0358 | -0.8767 | -0.1853%
1995 | 2076.1109 | 2002.4608 | 73.6501 | 3.678% | 1995 | 530.1497 | 456.5005 | 73.6492 | 16.13% | 1995 | 486.5357 | 487.2613 | -0.72568 | -0.1489%
1996 | 2260.8741 | 2186.8951 | 73.979 | 3.383% | 1996 | 602.1713 | 527.9918 | 74.1796 | 14.05% | 1996 | 476.5287 | 477.128 | -0.59935 | -0.1256%
1997 | 2067.7202 | 1995.2285 | 72.4917 | 3.633% | 1997 | 545.5505 | 473.9268 | 71.6237 | 15.11% | 1997 | 411.5369 | 410.9862 | 0.55072 | 0.134%
1998 | 2147.3712 | 2079.6549 | 67.7163 | 3.256% | 1998 | 554.5632 | 489.3204 | 65.2428 | 13.33% | 1998 | 434.4539 | 432.5407 | 1.9132 | 0.4423%
1999 | 1995.3523 | 1940.1419 | 55.2105 | 2.846% | 1999 | 515.4777 | 461.9089 | 53.5689 | 11.6% | 1999 | 399.3956 | 397.5347 | 1.8609 | 0.4681%
2000 | 2050.4439 | 1994.4166 | 56.0273 | 2.809% | 2000 | 532.6192 | 480.2241 | 52.3951 | 10.91% | 2000 | 410.1454 | 406.3753 | 3.7701 | 0.9277%
2001 | 1935.1105 | 1892.5247 | 42.5858 | 2.25% | 2001 | 494.1861 | 457.7528 | 36.4333 | 7.959% | 2001 | 383.3634 | 377.0548 | 6.3086 | 1.673%
2002 | 1961.579 | 1966.5005 | -4.9216 | -0.2503% | 2002 | 499.8893 | 467.2897 | 32.5996 | 6.976% | 2002 | 401.9827 | 392.9952 | 8.9874 | 2.287%
2003 | 2348.9076 | 2380.7793 | -31.8717 | -1.339% | 2003 | 578.1721 | 553.2456 | 24.9265 | 4.506% | 2003 | 489.0056 | 478.0243 | 10.9812 | 2.297%
2004 | 2188.2745 | 2221.5589 | -33.2844 | -1.498% | 2004 | 527.2942 | 502.8636 | 24.4306 | 4.858% | 2004 | 475.9504 | 481.9511 | -6.0007 | -1.245%
2005 | 2114.7574 | 2138.0726 | -23.3153 | -1.09% | 2005 | 517.1443 | 493.5699 | 23.5745 | 4.776% | 2005 | 443.798 | 452.2552 | -8.4572 | -1.87%
2006 | 2158.5457 | 2070.954 | 87.5918 | 4.23% | 2006 | 562.1165 | 492.2769 | 69.8395 | 14.19% | 2006 | 452.6302 | 434.2328 | 18.3974 | 4.237%
2007 | 2020.6015 | 2042.0777 | -21.4762 | -1.052% | 2007 | 502.5082 | 542.1974 | -39.6892 | -7.32% | 2007 | 443.0484 | 424.5751 | 18.4733 | 4.351%
2008 | 2054.2703 | 2011.592 | 42.6784 | 2.122% | 2008 | 509.6797 | 482.0445 | 27.6351 | 5.733% | 2008 | 455.4916 | 440.1998 | 15.2919 | 3.474%
2009 | 2098.1767 | 2057.6659 | 40.5108 | 1.969% | 2009 | 527.375 | 501.9715 | 25.4035 | 5.061% | 2009 | 445.0546 | 429.5854 | 15.4691 | 3.601%
2010 | 2049.9522 | 2010.6708 | 39.2814 | 1.954% | 2010 | 517.6692 | 491.5105 | 26.1588 | 5.322% | 2010 | 438.5987 | 424.5842 | 14.0145 | 3.301%
2011 | 2103.8285 | 2064.7212 | 39.1074 | 1.894% | 2011 | 519.0106 | 476.7198 | 42.2908 | 8.871% | 2011 | 527.6948 | 530.1567 | -2.462 | -0.4644%
2012 | 1924.0348 | 1913.5359 | 10.4989 | 0.5487% | 2012 | 478.5953 | 449.1598 | 29.4356 | 6.553% | 2012 | 437.3284 | 456.0841 | -18.7558 | -4.112%
2013 | 1992.8624 | 2041.1854 | -48.323 | -2.367% | 2013 | 500.8821 | 513.8251 | -12.9431 | -2.519% | 2013 | 431.902 | 467.1918 | -35.2898 | -7.554%
2014 | 2051.3236 | 2101.3208 | -49.9972 | -2.379% | 2014 | 551.1799 | 579.2096 | -28.0297 | -4.839% | 2014 | 449.6605 | 471.5838 | -21.9234 | -4.649%
2015 | 1962.3731 | 1522.9598 | 439.4134 | 28.85% | 2015 | 539.8521 | 300.1106 | 239.7415 | 79.88% | 2015 | 413.2977 | 224.9457 | 188.3519 | 83.73%

## # plants
Table 8-8: Total numbers of faciliities (both active and inactive) during 1984-2015
STATE | TYPE | SIG/INSIG | Phase 5 | Phase 6 | P6-P5
DC | MUNICIPAL | Significant | 1 | 1 | 0
| INDUSTRIAL | Non-significant | 9 | 9 | 0
DE | MUNICIPAL | Significant | 3 | 3 | 0
|  | Non-significant | 1 | 1 | 0
| INDUSTRIAL | Significant | 1 | 1 | 0
|  | Non-significant | 5 | 5 | 0
MD | MUNICIPAL | Significant | 87 | 87 | 0
|  | Non-significant | 245 | 245 | 0
| INDUSTRIAL | Significant | 11 | 11 | 0
|  | Non-significant | 1071 | 1575 | 504
NY | MUNICIPAL | Significant | 26 | 26 | 0
|  | Non-significant | 107 | 105 | -2
| INDUSTRIAL | Significant | 4 | 4 | 0
|  | Non-significant | 86 | 86 | 0
PA | MUNICIPAL | Significant | 197 | 197 | 0
|  | Non-significant | 1643 | 1710 | 67
| INDUSTRIAL | Significant | 25 | 25 | 0
|  | Non-significant | 395 | 358 | -37
VA | MUNICIPAL | Significant | 114 | 114 | 0
|  | Non-significant | 1654 | 1654 | 0
| INDUSTRIAL | Significant | 31 | 31 | 0
|  | Non-significant | 655 | 654 | -1
WV | MUNICIPAL | Significant | 16 | 16 | 0
|  | Non-significant | 154 | 154 | 0
| INDUSTRIAL | Significant | 8 | 8 | 0
|  | Non-significant | 123 | 112 | -11
Note: Blue Plains serves DC, MD and VA, but is counted as a DC plant only in ths table.

## Bay Wide
Phase 6 |  |  |  | Phase 5 |  |  | Annual Total load differrence |  |  | % Difference
Year | TNL | TPL | TSSL | TNL | TPL | TSSL | TNL | TPL | TSSL | TNL | TPL | TSSL
1984 | 103693670.4434 | 16553859.1232 | 191698816.8402 | 104417606.5 | 13939430.0037 | 206479948.0673 | -723936.0565 | 2614429.1196 | -14781131.2271 | -0.6933% | 18.76% | -7.159%
1985 | 102864463.4741 | 16283269.4403 | 190112901.6946 | 103690350.8466 | 13970791.5453 | 206901690.8586 | -825887.3724 | 2312477.895 | -16788789.164 | -0.7965% | 16.55% | -8.114%
1986 | 105048798.7544 | 15554171.7761 | 195309103.7195 | 105813528.4755 | 13650179.6965 | 211964557.2115 | -764729.7211 | 1903992.0796 | -16655453.4919 | -0.7227% | 13.95% | -7.858%
1987 | 101688164.0979 | 14062634.6412 | 195838842.7268 | 102519332.75 | 12791044.6446 | 212642843.2427 | -831168.652 | 1271589.9966 | -16804000.516 | -0.8107% | 9.941% | -7.902%
1988 | 104673430.331 | 12421674.1045 | 196493934.1852 | 105351623.5366 | 11290579.2526 | 212698574.0323 | -678193.2056 | 1131094.8519 | -16204639.8471 | -0.6437% | 10.02% | -7.619%
1989 | 105551895.6866 | 10907663.7017 | 195971847.4595 | 105729254.6979 | 10113753.2797 | 212608310.131 | -177359.0113 | 793910.4221 | -16636462.6715 | -0.1677% | 7.85% | -7.825%
1990 | 99103481.0015 | 10464219.5234 | 137437675.8295 | 99210464.5667 | 9573796.5624 | 150572062.969 | -106983.5652 | 890422.9609 | -13134387.1395 | -0.1078% | 9.301% | -8.723%
1991 | 95006141.7418 | 9944579.7523 | 133199894.5499 | 95049970.1572 | 9285362.7853 | 146152441.2166 | -43828.4155 | 659216.967 | -12952546.6667 | -0.04611% | 7.1% | -8.862%
1992 | 96082970.0056 | 9692720.3029 | 132695037.8093 | 95799850.2101 | 9115153.3809 | 145004962.417 | 283119.7955 | 577566.9219 | -12309924.6077 | 0.2955% | 6.336% | -8.489%
1993 | 95965800.5211 | 8804908.2232 | 139270736.797 | 95804650.0561 | 8444905.6004 | 152496578.1375 | 161150.465 | 360002.6228 | -13225841.3404 | 0.1682% | 4.263% | -8.673%
1994 | 95789280.858 | 8819963.5411 | 145472343.6559 | 95779055.1175 | 8793883.9829 | 158385009.9968 | 10225.7405 | 26079.5582 | -12912666.3409 | 0.01068% | 0.2966% | -8.153%
1995 | 90812513.9558 | 8221851.9933 | 139168740.264 | 91452152.925 | 8077487.4371 | 152141939.0687 | -639638.9692 | 144364.5562 | -12973198.8046 | -0.6994% | 1.787% | -8.527%
1996 | 93009680.4361 | 8550714.3339 | 150610153.0122 | 93741238.6415 | 8607025.6795 | 163393549.2608 | -731558.2053 | -56311.3456 | -12783396.2486 | -0.7804% | -0.6542% | -7.824%
1997 | 82032503.7105 | 7889702.828 | 131344582.5811 | 82826699.4757 | 7880043.5739 | 144060417.533 | -794195.7652 | 9659.2541 | -12715834.9519 | -0.9589% | 0.1226% | -8.827%
1998 | 82130689.6019 | 7870451.6259 | 132966379.6485 | 83174406.7043 | 8157092.479 | 146418579.3363 | -1043717.1024 | -286640.8531 | -13452199.6878 | -1.255% | -3.514% | -9.187%
1999 | 79659320.0879 | 7501539.5644 | 99014793.4938 | 80588117.6124 | 7540500.9702 | 111021229.5061 | -928797.5245 | -38961.4058 | -12006436.0122 | -1.153% | -0.5167% | -10.81%
2000 | 79162553.7111 | 7734827.1884 | 93989113.1131 | 80167921.5453 | 7980135.3462 | 106844577.7317 | -1005367.8342 | -245308.1578 | -12855464.6185 | -1.254% | -3.074% | -12.03%
2001 | 73779267.8235 | 7287552.3993 | 88739562.867 | 74775878.6908 | 7606673.6945 | 101622637.1146 | -996610.8673 | -319121.2953 | -12883074.2476 | -1.333% | -4.195% | -12.68%
2002 | 73323323.3231 | 7259572.8839 | 93537431.5788 | 74408319.9658 | 7630671.6574 | 106268666.7793 | -1084996.6427 | -371098.7734 | -12731235.2005 | -1.458% | -4.863% | -11.98%
2003 | 77111179.5057 | 7467310.8105 | 106006290.6968 | 77858688.8629 | 7921422.2099 | 118718977.6432 | -747509.3572 | -454111.3994 | -12712686.9464 | -0.9601% | -5.733% | -10.71%
2004 | 72394075.9565 | 7249974.8357 | 112208440.0905 | 73184902.5069 | 7726017.8889 | 123703587.3509 | -790826.5503 | -476043.0531 | -11495147.2603 | -1.081% | -6.162% | -9.292%
2005 | 68815907.5162 | 6750901.2351 | 108090793.8405 | 69302615.8958 | 7195186.6717 | 119729979.7126 | -486708.3796 | -444285.4366 | -11639185.8721 | -0.7023% | -6.175% | -9.721%
2006 | 69357775.9398 | 6664060.0457 | 102687366.5563 | 68726196.9713 | 7068037.6499 | 113900023.4469 | 631578.9685 | -403977.6042 | -11212656.8906 | 0.919% | -5.716% | -9.844%
2007 | 67030313.8954 | 6494270.1294 | 75574952.4766 | 68063114.2105 | 6983450.3367 | 84255702.1285 | -1032800.3151 | -489180.2073 | -8680749.652 | -1.517% | -7.005% | -10.3%
2008 | 66864195.3835 | 6084232.371 | 75386371.8942 | 67421372.3913 | 6456992.4414 | 81906803.6802 | -557177.0078 | -372760.0704 | -6520431.786 | -0.8264% | -5.773% | -7.961%
2009 | 64992616.0128 | 5786670.5439 | 80958362.939 | 65572446.5086 | 6177387.6422 | 86609450.2022 | -579830.4958 | -390717.0983 | -5651087.2632 | -0.8843% | -6.325% | -6.525%
2010 | 63136751.5447 | 5205390.8861 | 80125786.9725 | 63530784.6201 | 5638620.6244 | 86028497.1937 | -394033.0754 | -433229.7383 | -5902710.2213 | -0.6202% | -7.683% | -6.861%
2011 | 57320620.4395 | 4563047.4624 | 84679513.4513 | 57367648.2703 | 4719816.7619 | 93825896.5787 | -47027.8308 | -156769.2995 | -9146383.1274 | -0.08198% | -3.322% | -9.748%
2012 | 52088584.5009 | 4412176.3559 | 81668222.2322 | 52001432.8847 | 4267016.9587 | 92353491.416 | 87151.6162 | 145159.3971 | -10685269.1838 | 0.1676% | 3.402% | -11.57%
2013 | 50476789.3025 | 4264098.8344 | 83076607.9861 | 51123363.6367 | 4243118.8894 | 94399058.2669 | -646574.3342 | 20979.945 | -11322450.2808 | -1.265% | 0.4944% | -11.99%
2014 | 49660742.9764 | 3892302.0914 | 85635281.9572 | 50144516.8455 | 3833582.3411 | 98049366.9849 | -483773.8691 | 58719.7503 | -12414085.0277 | -0.9648% | 1.532% | -12.66%
2015 | 45190214.3043 | 3491105.7262 | 70425230.7421 | 34339840.4828 | 2412316.2189 | 60067310.7677 | 10850373.8215 | 1078789.5073 | 10357919.9744 | 31.6% | 44.72% | 17.24%
Note | 2015 in Beta4 has data for only a half year for many states
Loads are in lbs/yr

## DC
Phase 6 |  |  |  | Phase 5 |  |  | Annual Total load differrence |  |  | % Difference
Year | TNL | TPL | TSSL | TNL | TPL | TSSL | TNL | TPL | TSSL | TNL | TPL | TSSL
1984 | 13501119.4296 | 146159.8121 | 2464373.1425 | 13483915.1506 | 144107.188 | 2332810.6257 | 17204.279 | 2052.6241 | 131562.5168 | 0.1276% | 1.424% | 5.64%
1985 | 14158231.0355 | 118356.5271 | 1755567.9907 | 14158216.9192 | 119617.605 | 1804097.5566 | 14.1163 | -1261.0779 | -48529.566 | 9.97e-05% | -1.054% | -2.69%
1986 | 12708768.7546 | 122306.2362 | 1593879.5075 | 12708756.0709 | 122306.1162 | 1593878.0652 | 12.6837 | 0.12 | 1.4423 | 9.98e-05% | 9.811e-05% | 9.049e-05%
1987 | 13102195.7113 | 115043.0631 | 1191627.2957 | 13102182.6574 | 115042.9536 | 1191626.4336 | 13.0539 | 0.10945 | 0.86207 | 9.963e-05% | 9.514e-05% | 7.234e-05%
1988 | 13769131.1595 | 82749.5371 | 1031006.8532 | 13769117.4126 | 82749.4562 | 1031005.9524 | 13.7469 | 0.080837 | 0.90084 | 9.984e-05% | 9.769e-05% | 8.737e-05%
1989 | 13286955.826 | 119424.8335 | 2761350.9631 | 13286942.5926 | 119424.7205 | 2761348.5719 | 13.2334 | 0.11309 | 2.3912 | 9.96e-05% | 9.469e-05% | 8.66e-05%
1990 | 14949151.3655 | 128354.731 | 2353178.1293 | 14949136.4413 | 128354.6049 | 2353175.9272 | 14.9242 | 0.12606 | 2.2021 | 9.983e-05% | 9.821e-05% | 9.358e-05%
1991 | 14034614.9177 | 90495.8957 | 1425510.6684 | 14034600.9104 | 90495.8079 | 1425509.4124 | 14.0072 | 0.087856 | 1.2559 | 9.98e-05% | 9.708e-05% | 8.81e-05%
1992 | 14665756.3373 | 101055.019 | 2349102.401 | 14665741.7005 | 101054.9208 | 2349100.2336 | 14.6368 | 0.098192 | 2.1674 | 9.98e-05% | 9.717e-05% | 9.227e-05%
1993 | 13765284.7212 | 87782.9915 | 1604548.318 | 13765270.9978 | 87782.9084 | 1604546.994 | 13.7234 | 0.083096 | 1.324 | 9.97e-05% | 9.466e-05% | 8.251e-05%
1994 | 13384568.5608 | 157769.7922 | 4556641.2553 | 13384555.2113 | 157769.6382 | 4556636.9267 | 13.3496 | 0.15405 | 4.3286 | 9.974e-05% | 9.764e-05% | 9.5e-05%
1995 | 13375156.1588 | 79766.9439 | 1307444.8383 | 13375368.0824 | 79766.8681 | 1307443.7731 | -211.9236 | 0.075787 | 1.0652 | -0.001584% | 9.501e-05% | 8.147e-05%
1996 | 11963912.4272 | 101925.8877 | 3349805.7752 | 11963312.3945 | 103691.7209 | 3186492.2187 | 600.0327 | -1765.8332 | 163313.5566 | 0.005016% | -1.703% | 5.125%
1997 | 10042276.9866 | 87343.9066 | 1305789.0996 | 10042267.0043 | 84277.3257 | 1119258.1948 | 9.9823 | 3066.5809 | 186530.9048 | 9.94e-05% | 3.639% | 16.67%
1998 | 9285674.2873 | 110853.3341 | 1180525.2709 | 9285665.0973 | 112185.5707 | 1246446.4923 | 9.1901 | -1332.2366 | -65921.2214 | 9.897e-05% | -1.188% | -5.289%
1999 | 11213005.033 | 146961.9232 | 3025505.01 | 11212993.8822 | 146961.7839 | 3125024.0433 | 11.1508 | 0.1393 | -99519.0334 | 9.945e-05% | 9.479e-05% | -3.185%
2000 | 8794669.397 | 109393.6839 | 2672347.058 | 8794660.6463 | 109393.5795 | 2742463.5899 | 8.7507 | 0.1044 | -70116.5319 | 9.95e-05% | 9.543e-05% | -2.557%
2001 | 6019761.8943 | 74829.61 | 1194789.7852 | 6019755.9218 | 74829.5407 | 1228205.9996 | 5.9725 | 0.069295 | -33416.2144 | 9.921e-05% | 9.26e-05% | -2.721%
2002 | 6347269.8253 | 90799.7594 | 1663596.9032 | 6347263.5831 | 90799.6823 | 1809756.4849 | 6.2422 | 0.077102 | -146159.5817 | 9.834e-05% | 8.491e-05% | -8.076%
2003 | 7566255.7619 | 153434.7377 | 4423481.6798 | 7578917.4571 | 160352.4972 | 4832809.2536 | -12661.6951 | -6917.7595 | -409327.5738 | -0.1671% | -4.314% | -8.47%
2004 | 6421876.0361 | 142648.6136 | 3297267.1936 | 6404036.6671 | 141295.6735 | 2949637.6141 | 17839.369 | 1352.9402 | 347629.5795 | 0.2786% | 0.9575% | 11.79%
2005 | 5346640.6834 | 132806.3 | 2832574.6662 | 5385354.2682 | 139306.2391 | 3001818.0385 | -38713.5848 | -6499.939 | -169243.3723 | -0.7189% | -4.666% | -5.638%
2006 | 5484738.6258 | 92367.2969 | 1913324.7143 | 5484733.2921 | 92367.2224 | 1913323.7798 | 5.3336 | 0.074409 | 0.93448 | 9.725e-05% | 8.056e-05% | 4.884e-05%
2007 | 5504801.052 | 80205.9861 | 1488759.2986 | 5504795.6644 | 80205.9193 | 1488758.7089 | 5.3876 | 0.066848 | 0.58971 | 9.787e-05% | 8.335e-05% | 3.961e-05%
2008 | 6911041.148 | 91280.0238 | 2257322.5267 | 6911035.0549 | 91279.9587 | 2257321.7625 | 6.0932 | 0.065083 | 0.7642 | 8.817e-05% | 7.13e-05% | 3.385e-05%
2009 | 5447864.5816 | 60150.0339 | 1141226.4415 | 5447859.3164 | 60149.9888 | 1141225.8099 | 5.2653 | 0.045104 | 0.63162 | 9.665e-05% | 7.499e-05% | 5.535e-05%
2010 | 4912098.3474 | 54860.7557 | 834957.5021 | 4912093.5204 | 54860.707 | 834956.9973 | 4.827 | 0.048643 | 0.50486 | 9.827e-05% | 8.867e-05% | 6.047e-05%
2011 | 3879839.9265 | 77732.1332 | 1576441.3909 | 3879836.2295 | 77732.0714 | 1576440.5972 | 3.697 | 0.061844 | 0.79374 | 9.529e-05% | 7.956e-05% | 5.035e-05%
2012 | 3322729.0729 | 66485.6597 | 1103596.0555 | 3322725.8276 | 66485.599 | 1103595.4232 | 3.2453 | 0.060705 | 0.63234 | 9.767e-05% | 9.131e-05% | 5.73e-05%
2013 | 3239904.1732 | 51884.0422 | 989989.618 | 3239901.0344 | 51883.9967 | 989988.8808 | 3.1388 | 0.045545 | 0.73721 | 9.688e-05% | 8.778e-05% | 7.447e-05%
2014 | 3904712.0745 | 69609.0404 | 1414570.5969 | 3904708.3184 | 69608.9819 | 1414569.6583 | 3.7561 | 0.0585 | 0.93867 | 9.619e-05% | 8.404e-05% | 6.636e-05%
2015 | 2667182.0544 | 62466.2401 | 1120678.8923 | 2667179.4471 | 62466.1824 | 1120677.9392 | 2.6073 | 0.057735 | 0.95307 | 9.776e-05% | 9.243e-05% | 8.504e-05%

## NY
Phase 6 |  |  |  | Phase 5 |  |  | Annual Total load differrence |  |  | % Difference
Year | TNL | TPL | TSSL | TNL | TPL | TSSL | TNL | TPL | TSSL | TNL | TPL | TSSL
1984 | 5011367.3223 | 763427.3999 | 9408606.5773 | 5011367.3223 | 763427.3999 | 9408606.5773 | 9.3132e-09 | 0 | 0 | 1.858e-13% | 0% | 0%
1985 | 5025784.53 | 763481.051 | 9387488.6598 | 5025784.53 | 763481.051 | 9387488.6598 | 1.2107e-08 | 0 | 0 | 2.409e-13% | 0% | 0%
1986 | 5032862.2578 | 764842.9959 | 9404609.5422 | 5032862.2578 | 764842.9959 | 9404609.5422 | 1.4901e-08 | 0 | 0 | 2.961e-13% | 0% | 0%
1987 | 4844491.451 | 765413.1958 | 9412285.3643 | 4844491.451 | 765413.1958 | 9412285.3643 | 1.2107e-08 | 0 | -1.4901e-08 | 2.499e-13% | 0% | -1.583e-13%
1988 | 4873692.9768 | 767974.6763 | 9444205.3076 | 4873692.9768 | 767974.6763 | 9444205.3076 | 1.2107e-08 | 9.3132e-10 | 0 | 2.484e-13% | 1.213e-13% | 0%
1989 | 4818634.3425 | 722367.1308 | 9460393.3951 | 4818634.3425 | 722367.1308 | 9460393.3951 | 1.2107e-08 | 0 | 0 | 2.513e-13% | 0% | 0%
1990 | 4930066.1293 | 681917.7973 | 5783241.2047 | 4930066.1293 | 681917.7973 | 5783241.2047 | 0 | 1.2806e-09 | 1.2107e-08 | 0% | 1.878e-13% | 2.093e-13%
1991 | 4802722.0441 | 710657.2063 | 5588244.3329 | 4802722.0441 | 710657.2063 | 5588244.3329 | 0 | 0 | 1.3039e-08 | 0% | 0% | 2.333e-13%
1992 | 5086336.5641 | 946715.3986 | 6091371.9677 | 5086336.5641 | 946715.3986 | 6091371.9677 | 0 | 0 | 0 | 0% | 0% | 0%
1993 | 5340676.6745 | 596654.2697 | 6165683.4291 | 5340676.6745 | 596654.2697 | 6165683.4291 | 0 | 1.9791e-09 | 0 | 0% | 3.317e-13% | 0%
1994 | 5623057.5296 | 646390.1239 | 6474230.5138 | 5623057.5296 | 646390.1239 | 6474230.5138 | -7.4506e-09 | 0 | 0 | -1.325e-13% | 0% | 0%
1995 | 4456749.2587 | 579353.0594 | 5375841.5551 | 4456749.2587 | 579353.0594 | 5375841.5551 | 0 | 0 | 0 | 0% | 0% | 0%
1996 | 6194399.404 | 794364.449 | 7154034.9369 | 6194399.404 | 794364.449 | 7154034.9369 | 8.3819e-09 | 1.9791e-09 | -7.4506e-09 | 1.353e-13% | 2.491e-13% | -1.041e-13%
1997 | 4809805.0394 | 599493.0074 | 5652217.7333 | 4809805.0394 | 599493.0074 | 5652217.7333 | 0 | 1.0477e-09 | 0 | 0% | 1.748e-13% | 0%
1998 | 5422096.2775 | 686219.4555 | 6290345.7316 | 5422096.2775 | 686219.4555 | 6290345.7316 | 1.0245e-08 | 0 | 0 | 1.889e-13% | 0% | 0%
1999 | 4480594.5127 | 726105.7577 | 5212615.4918 | 4480594.5127 | 726105.7577 | 5212615.4918 | 7.4506e-09 | 2.9104e-09 | 0 | 1.663e-13% | 4.008e-13% | 0%
2000 | 5111851.2423 | 809584.9733 | 3914948.4084 | 5111851.2423 | 809584.9733 | 3914948.4084 | 0 | 1.9791e-09 | 0 | 0% | 2.445e-13% | 0%
2001 | 3764579.5339 | 563922.6458 | 3153079.7652 | 3764579.5339 | 563922.6458 | 3153079.7652 | 0 | 0 | 0 | 0% | 0% | 0%
2002 | 4195596.4124 | 694157.8313 | 3427923.4853 | 4195596.4124 | 694157.8313 | 3427923.4853 | 0 | 2.3283e-09 | 0 | 0% | 3.354e-13% | 0%
2003 | 4503207.5637 | 638371.229 | 3834735.4358 | 4503207.5637 | 638371.229 | 3834735.4358 | 0 | 1.1642e-09 | 0 | 0% | 1.824e-13% | 0%
2004 | 4504530.6525 | 648953.9783 | 3860090.6915 | 4504530.6525 | 648953.9783 | 3860090.6915 | 1.4901e-08 | 1.1642e-09 | 0 | 3.308e-13% | 1.794e-13% | 0%
2005 | 3558123.0702 | 539852.8063 | 3576113.0356 | 3558123.0702 | 539852.8063 | 3576113.0356 | 0 | 0 | 0 | 0% | 0% | 0%
2006 | 3667398.1152 | 525663.3921 | 3775195.9342 | 3667398.1152 | 525663.3921 | 3775195.9342 | -8.3819e-09 | 0 | 0 | -2.286e-13% | 0% | 0%
2007 | 3349985.3815 | 478605.4864 | 3353614.277 | 3349985.3815 | 478605.4864 | 3353614.277 | 0 | -6.9849e-10 | -4.191e-09 | 0% | -1.459e-13% | -1.25e-13%
2008 | 3221267.0222 | 473207.8767 | 3700631.2475 | 3221267.0222 | 473207.8767 | 3700631.2475 | 0 | 0 | 0 | 0% | 0% | 0%
2009 | 2958128.5339 | 451511.0957 | 3131259.896 | 2958128.5339 | 451511.0957 | 3131259.896 | -4.191e-09 | -1.1059e-09 | 0 | -1.417e-13% | -2.449e-13% | 0%
2010 | 2703963.2297 | 411307.7362 | 2581910.2301 | 2703963.2297 | 411307.7362 | 2581910.2301 | 0 | -6.4028e-10 | 0 | 0% | -1.557e-13% | 0%
2011 | 3804625.6164 | 408678.8573 | 4753058.1248 | 3807947.4905 | 408910.5894 | 4754719.8584 | -3321.8741 | -231.7321 | -1661.7337 | -0.08724% | -0.05667% | -0.03495%
2012 | 3896608.2811 | 497639.3083 | 5801523.5115 | 3899939.2563 | 497871.6753 | 5803189.7979 | -3330.9751 | -232.367 | -1666.2864 | -0.08541% | -0.04667% | -0.02871%
2013 | 3848250.4551 | 374950.9104 | 5507046.8838 | 3851572.3292 | 375182.6425 | 5508708.6175 | -3321.8741 | -231.7321 | -1661.7337 | -0.08625% | -0.06177% | -0.03017%
2014 | 3455613.8274 | 337276.4788 | 4607221.6565 | 3457261.1129 | 337391.3926 | 4608045.6943 | -1647.2855 | -114.9137 | -824.0378 | -0.04765% | -0.03406% | -0.01788%
2015 | 2151211.4491 | 146949.8146 | 3590727.3653 | 2154533.3232 | 147181.5467 | 3592389.099 | -3321.8741 | -231.7321 | -1661.7337 | -0.1542% | -0.1574% | -0.04626%

## VA
Phase 6 |  |  |  | Phase 5 |  |  | Annual Total load differrence |  |  | % Difference
Year | TNL | TPL | TSSL | TNL | TPL | TSSL | TNL | TPL | TSSL | TNL | TPL | TSSL
1984 | 38916568.4054 | 8761118.914 | 85124865.9533 | 38916568.4054 | 6120558.0374 | 85124865.9533 | 0 | 2640560.8766 | 0 | 0% | 43.14% | 0%
1985 | 38729979.7619 | 8701748.5757 | 85080187.5662 | 38729979.7619 | 6068402.3462 | 85080187.5662 | 0 | 2633346.2294 | 0 | 0% | 43.39% | 0%
1986 | 42426154.1047 | 8991152.2609 | 86710516.7742 | 42426154.1047 | 6785186.6466 | 86710516.7742 | 0 | 2205965.6143 | 0 | 0% | 32.51% | 0%
1987 | 40309340.4426 | 7759299.9197 | 91016154.5003 | 40309340.4426 | 6180378.1397 | 91016154.5003 | 0 | 1578921.7801 | 0 | 0% | 25.55% | 0%
1988 | 44027328.7879 | 6301071.7728 | 91316666.6536 | 44027328.7879 | 4900515.1008 | 91316666.6536 | 0 | 1400556.6721 | 0 | 0% | 28.58% | 0%
1989 | 45563387.7951 | 5116876.4809 | 94047996.1057 | 45563387.7951 | 4090458.7415 | 94047996.1057 | 0 | 1026417.7394 | 0 | 0% | 25.09% | 0%
1990 | 38053001.364 | 4770223.4192 | 61240886.3449 | 38053001.364 | 3644318.9109 | 61240886.3449 | 0 | 1125904.5084 | 0 | 0% | 30.89% | 0%
1991 | 35851617.1991 | 4576218.854 | 59357535.1243 | 35851617.1991 | 3695481.2785 | 59357535.1243 | 0 | 880737.5755 | 0 | 0% | 23.83% | 0%
1992 | 37142707.6532 | 4182598.7533 | 62413026.6714 | 37142707.6532 | 3458871.6572 | 62413026.6714 | 0 | 723727.0961 | 0 | 0% | 20.92% | 0%
1993 | 38073813.4305 | 3954342.7368 | 65398361.958 | 38073813.4305 | 3409658.7249 | 65398361.958 | 0 | 544684.0119 | 0 | 0% | 15.97% | 0%
1994 | 38449069.4875 | 4013009.0785 | 65978075.3102 | 38449069.4875 | 3788113.959 | 65978075.3102 | 0 | 224895.1196 | 0 | 0% | 5.937% | 0%
1995 | 35469262.2181 | 3734646.9306 | 63440245.279 | 35469262.2181 | 3314518.9738 | 63440245.279 | 0 | 420127.9568 | 0 | 0% | 12.68% | 0%
1996 | 36326688.4347 | 3634195.1346 | 67783277.6748 | 36326688.4347 | 3441619.7264 | 67783277.6748 | 0 | 192575.4082 | 0 | 0% | 5.595% | 0%
1997 | 32330446.1591 | 3490978.0869 | 64673394.1747 | 32330446.1591 | 3229993.1868 | 64673394.1747 | 0 | 260984.9001 | 0 | 0% | 8.08% | 0%
1998 | 31065561.2169 | 3249892.7117 | 66701322.0935 | 31065561.2169 | 3249892.7117 | 66701322.0935 | 0 | 0 | 0 | 0% | 0% | 0%
1999 | 29659965.455 | 3082488.102 | 37604519.3953 | 29659965.455 | 3082488.102 | 37604519.3953 | 0 | 0 | 0 | 0% | 0% | 0%
2000 | 30095353.6364 | 3095217.0316 | 33046920.1201 | 30095353.6364 | 3095217.0316 | 33046920.1201 | 0 | 0 | 0 | 0% | 0% | 0%
2001 | 29901130.7044 | 2967582.298 | 32124044.2904 | 29901130.7044 | 2967582.298 | 32124044.2904 | 0 | 0 | 0 | 0% | 0% | 0%
2002 | 29410695.5417 | 3050861.3334 | 35261799.559 | 29410695.5417 | 3050861.3334 | 35261799.559 | 0 | 0 | 0 | 0% | 0% | 0%
2003 | 27492328.5657 | 2942459.3107 | 38165936.1814 | 27492328.5657 | 2942459.3107 | 38165936.1814 | 0 | 0 | 0 | 0% | 0% | 0%
2004 | 27004899.3751 | 2739472.2592 | 47873591.9234 | 27004899.3751 | 2739472.2592 | 47873591.9234 | 0 | 0 | 0 | 0% | 0% | 0%
2005 | 26209086.4148 | 2529958.012 | 47013047.0944 | 26209086.4148 | 2529958.012 | 47013047.0944 | 0 | 0 | 0 | 0% | 0% | 0%
2006 | 25632500.8817 | 2323410.2111 | 41709249.7661 | 25632500.8817 | 2323410.2111 | 41709249.7661 | 0 | 0 | 0 | 0% | 0% | 0%
2007 | 24601530.8278 | 2330238.0678 | 34620029.6169 | 24601530.8278 | 2330238.0678 | 34620029.6169 | 3.7253e-08 | 8.3819e-09 | 8.9407e-08 | 1.514e-13% | 3.597e-13% | 2.583e-13%
2008 | 23792950.2948 | 2069198.9001 | 34248259.5659 | 23792950.2948 | 2069198.9001 | 34248259.5659 | 0 | 0 | 0 | 0% | 0% | 0%
2009 | 24488046.4562 | 2078927.7772 | 45496093.1041 | 24488046.4562 | 2078927.7772 | 45496093.1041 | 0 | 0 | 0 | 0% | 0% | 0%
2010 | 24521515.3061 | 1840923.0537 | 44497705.974 | 24521515.3061 | 1840923.0537 | 44497705.974 | 0 | 0 | 0 | 0% | 0% | 0%
2011 | 18651941.6715 | 1309591.1936 | 40520409.3727 | 18651941.6715 | 1309591.1936 | 40520409.3727 | 0 | 0 | 0 | 0% | 0% | 0%
2012 | 17459449.0622 | 1214671.7102 | 40355514.8171 | 17459449.0622 | 1214671.7102 | 40355514.8171 | 0 | 0 | 0 | 0% | 0% | 0%
2013 | 17213908.2905 | 1253346.5407 | 42010932.5003 | 17213908.2905 | 1253346.5407 | 42010932.5003 | 0 | 0 | 0 | 0% | 0% | 0%
2014 | 16624902.4283 | 1146187.7586 | 41021345.6306 | 16624902.4283 | 1146187.7586 | 41021345.6306 | 0 | 0 | 0 | 0% | 0% | 0%
2015 | 16858945.4782 | 1180887.5419 | 27128129.499 | 16858945.4782 | 1180887.5419 | 27128129.499 | 3.7253e-08 | 0 | 0 | 2.21e-13% | 0% | 0%

## WV
Phase 6 |  |  |  | Phase 5 |  |  | Annual Total load differrence |  |  | % Difference
Year | TNL | TPL | TSSL | TNL | TPL | TSSL | TNL | TPL | TSSL | TNL | TPL | TSSL
1984 | 858466.4051 | 227263.5259 | 2401891.335 | 866588.3378 | 231184.1523 | 2414240.5218 | -8121.9328 | -3920.6265 | -12349.1867 | -0.9372% | -1.696% | -0.5115%
1985 | 883471.7486 | 227373.2208 | 2564046.6313 | 890753.6826 | 231105.56 | 2576164.4974 | -7281.934 | -3732.3392 | -12117.866 | -0.8175% | -1.615% | -0.4704%
1986 | 893430.2706 | 229465.5787 | 2469366.5371 | 900712.2046 | 233356.2774 | 2481953.9034 | -7281.934 | -3890.6986 | -12587.3662 | -0.8085% | -1.667% | -0.5072%
1987 | 897654.6965 | 231828.1405 | 2454460.6779 | 904935.4857 | 235888.1686 | 2467392.0527 | -7280.7892 | -4060.0281 | -12931.3748 | -0.8046% | -1.721% | -0.5241%
1988 | 897821.0741 | 232678.6715 | 2438990.0337 | 905121.2484 | 236686.951 | 2451841.6252 | -7300.1743 | -4008.2795 | -12851.5915 | -0.8065% | -1.693% | -0.5242%
1989 | 1086639.5338 | 251362.7918 | 2252668.7756 | 1093919.7623 | 255360.1197 | 2265485.2535 | -7280.2284 | -3997.328 | -12816.4779 | -0.6655% | -1.565% | -0.5657%
1990 | 997822.2654 | 246605.3291 | 1827983.1897 | 1005102.4939 | 250602.6571 | 1840799.6676 | -7280.2284 | -3997.328 | -12816.4779 | -0.7243% | -1.595% | -0.6962%
1991 | 965138.8368 | 243041.8772 | 1647089.6373 | 980681.4374 | 248282.1711 | 1673456.6978 | -15542.6007 | -5240.2938 | -26367.0605 | -1.585% | -2.111% | -1.576%
1992 | 948895.1208 | 237719.5218 | 1582045.3109 | 964672.1106 | 242826.0357 | 1608320.7955 | -15776.9898 | -5106.5138 | -26275.4846 | -1.635% | -2.103% | -1.634%
1993 | 1102292.3535 | 280592.8892 | 1619483.7959 | 1044633.1137 | 273389.5847 | 1602236.4224 | 57659.2399 | 7203.3045 | 17247.3734 | 5.52% | 2.635% | 1.076%
1994 | 1384947.7453 | 306458.1466 | 1935425.8556 | 1395568.2333 | 310571.0021 | 1953435.8033 | -10620.488 | -4112.8556 | -18009.9476 | -0.761% | -1.324% | -0.922%
1995 | 1317880.9169 | 319306.5484 | 1878188.6567 | 1327985.387 | 323280.8744 | 1895385.8275 | -10104.4701 | -3974.326 | -17197.1708 | -0.7609% | -1.229% | -0.9073%
1996 | 1464711.5251 | 343990.031 | 2373751.2799 | 1473753.4474 | 347688.0922 | 2388646.2418 | -9041.9223 | -3698.0611 | -14894.9618 | -0.6135% | -1.064% | -0.6236%
1997 | 1544209.4926 | 300232.8465 | 1861590.2269 | 1548765.8939 | 303443.0089 | 1868393.4157 | -4556.4014 | -3210.1624 | -6803.1888 | -0.2942% | -1.058% | -0.3641%
1998 | 1532820.0826 | 293292.641 | 1838064.3181 | 1537132.839 | 296462.1959 | 1844529.1113 | -4312.7565 | -3169.5549 | -6464.7931 | -0.2806% | -1.069% | -0.3505%
1999 | 1447800.1608 | 246355.1928 | 1718518.0573 | 1451863.1047 | 249424.3888 | 1724532.9375 | -4062.9439 | -3069.196 | -6014.8801 | -0.2798% | -1.231% | -0.3488%
2000 | 1376333.2045 | 246665.3244 | 1526695.6756 | 1379731.354 | 249500.7214 | 1531025.8974 | -3398.1495 | -2835.397 | -4330.2217 | -0.2463% | -1.136% | -0.2828%
2001 | 1197236.5477 | 252643.2751 | 1610092.5224 | 1200252.1393 | 255348.5933 | 1614046.9639 | -3015.5916 | -2705.3183 | -3954.4415 | -0.2512% | -1.059% | -0.245%
2002 | 1179337.0749 | 248935.216 | 1727004.6171 | 1182017.438 | 251440.9392 | 1730432.2824 | -2680.3631 | -2505.7232 | -3427.6653 | -0.2268% | -0.9965% | -0.1981%
2003 | 1434339.4932 | 359643.9355 | 2095421.8486 | 1436730.9243 | 362031.6273 | 2098488.5747 | -2391.4311 | -2387.6918 | -3066.7261 | -0.1664% | -0.6595% | -0.1461%
2004 | 1230204.6895 | 348363.3063 | 1777978.4713 | 1236143.9219 | 351372.3179 | 1786017.8736 | -5939.2325 | -3009.0116 | -8039.4023 | -0.4805% | -0.8564% | -0.4501%
2005 | 1211617.4948 | 322951.5146 | 1577875.5726 | 1217540.4998 | 325913.668 | 1585678.3599 | -5923.0051 | -2962.1534 | -7802.7873 | -0.4865% | -0.9089% | -0.4921%
2006 | 759596.9402 | 312378.8186 | 2015217.733 | 775703.6106 | 316071.1554 | 2029506.7037 | -16106.6704 | -3692.3368 | -14288.9707 | -2.076% | -1.168% | -0.7041%
2007 | 725132.4434 | 338896.4312 | 1246062.6998 | 725893.8334 | 338972.5702 | 1247585.4798 | -761.39 | -76.139 | -1522.78 | -0.1049% | -0.02246% | -0.1221%
2008 | 823585.2756 | 267645.3578 | 1099920.5294 | 824348.7516 | 267721.7054 | 1101447.4814 | -763.476 | -76.3476 | -1526.952 | -0.09262% | -0.02852% | -0.1386%
2009 | 777595.5421 | 241462.6057 | 1193685.9658 | 779021.1789 | 241637.2087 | 1200334.7711 | -1425.6368 | -174.6031 | -6648.8053 | -0.183% | -0.07226% | -0.5539%
2010 | 826928.6771 | 191023.9844 | 1263513.8857 | 841318.6538 | 193010.1025 | 1322775.3703 | -14389.9767 | -1986.1182 | -59261.4847 | -1.71% | -1.029% | -4.48%
2011 | 881770.2325 | 202127.7099 | 3308691.9608 | 897397.8729 | 204418.277 | 3366811.8054 | -15627.6405 | -2290.5671 | -58119.8446 | -1.741% | -1.121% | -1.726%
2012 | 794908.6833 | 186786.6338 | 4597419.6228 | 798688.0147 | 187365.624 | 4607026.9044 | -3779.3314 | -578.9902 | -9607.2816 | -0.4732% | -0.309% | -0.2085%
2013 | 807587.5511 | 182567.9828 | 4554818.2145 | 809164.4837 | 182780.0455 | 4560745.7921 | -1576.9326 | -212.0628 | -5927.5776 | -0.1949% | -0.116% | -0.13%
2014 | 750243.0588 | 118727.971 | 4712701.2872 | 751004.4488 | 118804.11 | 4717269.6272 | -761.39 | -76.139 | -4568.34 | -0.1014% | -0.06409% | -0.09684%
2015 | 814755.8151 | 90843.7802 | 4452842.9222 | 430798.0089 | 44925.861 | 2278946.2576 | 383957.8063 | 45917.9193 | 2173896.6646 | 89.13% | 102.2% | 95.39%

## Unsimul (hidden)
Beta 5 |  |  |  | Beta 4 |  |  | Annual Total load differrence |  |  | % Difference
Year | TNL | TPL | TSSL | TNL | TPL | TSSL | TNL | TPL | TSSL | TNL | TPL | TSSL
1984 | 69994410.1584 | 6582297.7885 | 101909363.2243 | 70316179.3362 | 6447586.7878 | 103264455.6178 | -321769.1778 | 134711.0006 | -1355092.3934 | -0.4576% | 2.089% | -1.312%
1985 | 69079427.1461 | 6279739.9216 | 99129438.96 | 69419761.7701 | 6165512.6328 | 100690179.4507 | -340334.624 | 114227.2887 | -1560740.4907 | -0.4903% | 1.853% | -1.55%
1986 | 70570824.6632 | 6276128.432 | 102709674.4476 | 70827636.7867 | 6140086.4987 | 104224200.2686 | -256812.1236 | 136041.9333 | -1514525.821 | -0.3626% | 2.216% | -1.453%
1987 | 67718044.6992 | 5560792.9474 | 103598163.1616 | 68007995.626 | 5425351.7907 | 105292938.2219 | -289950.9269 | 135441.1567 | -1694775.0603 | -0.4263% | 2.496% | -1.61%
1988 | 70248163.7232 | 4636312.2848 | 100850813.8431 | 70475736.6917 | 4483959.2543 | 102488191.5382 | -227572.9685 | 152353.0305 | -1637377.6951 | -0.3229% | 3.398% | -1.598%
1989 | 70407689.4598 | 3944298.1279 | 98388298.8357 | 70046460.796 | 3733408.3716 | 99975060.7333 | 361228.6638 | 210889.7563 | -1586761.8976 | 0.5157% | 5.649% | -1.587%
1990 | 64855521.2776 | 3756629.4271 | 67859491.2628 | 64474888.8611 | 3545217.5479 | 69332280.9617 | 380632.4165 | 211411.8792 | -1472789.699 | 0.5904% | 5.963% | -2.124%
1991 | 61128933.5435 | 3549667.9762 | 63242946.3757 | 60732091.977 | 3327944.6045 | 64596695.0785 | 396841.5665 | 221723.3717 | -1353748.7028 | 0.6534% | 6.662% | -2.096%
1992 | 61175618.8651 | 3201779.4729 | 59259723.5255 | 60666315.57 | 2934593.2565 | 60671013.6876 | 509303.295 | 267186.2164 | -1411290.1621 | 0.8395% | 9.105% | -2.326%
1993 | 60549171.2854 | 2918120.6701 | 64712965.4855 | 60086557.6238 | 2672241.5174 | 66320498.059 | 462613.6616 | 245879.1527 | -1607532.5735 | 0.7699% | 9.201% | -2.424%
1994 | 59202528.2238 | 3105371.9215 | 68008290.4738 | 58758446.8874 | 2859320.9883 | 69396574.7069 | 444081.3364 | 246050.9332 | -1388284.2331 | 0.7558% | 8.605% | -2.001%
1995 | 55998880.5119 | 2806408.3498 | 61887368.5558 | 56183921.4015 | 2631935.9663 | 63442829.5858 | -185040.8896 | 174472.3835 | -1555461.03 | -0.3293% | 6.629% | -2.452%
1996 | 54773801.7932 | 2807961.3134 | 70770911.4481 | 54959253.3983 | 2629613.096 | 71946867.8442 | -185451.6051 | 178348.2174 | -1175956.3961 | -0.3374% | 6.782% | -1.634%
1997 | 48633286.1498 | 2517419.3216 | 62393240.444 | 48864501.5382 | 2342538.3087 | 63665145.873 | -231215.3885 | 174881.0129 | -1271905.429 | -0.4732% | 7.465% | -1.998%
1998 | 45645995.7917 | 2342476.9635 | 60605937.4661 | 45944546.6146 | 2185108.3491 | 62329194.1742 | -298550.8229 | 157368.6145 | -1723256.7082 | -0.6498% | 7.202% | -2.765%
1999 | 46509010.8375 | 2383932.3643 | 37517763.8458 | 46776658.0806 | 2226407.0051 | 39356857.1868 | -267647.2431 | 157525.3592 | -1839093.3409 | -0.5722% | 7.075% | -4.673%
2000 | 43986334.7855 | 2424104.9213 | 32496921.9623 | 44284169.8961 | 2269674.7329 | 34026735.2142 | -297835.1106 | 154430.1885 | -1529813.2519 | -0.6726% | 6.804% | -4.496%
2001 | 41252131.7502 | 2307079.7577 | 33554009.6726 | 41400354.9291 | 2146938.9288 | 34977546.931 | -148223.1789 | 160140.8289 | -1423537.2584 | -0.358% | 7.459% | -4.07%
2002 | 40761407.3524 | 2328318.0241 | 35489351.2918 | 40754548.8295 | 2202758.6523 | 37063880.3674 | 6858.5229 | 125559.3718 | -1574529.0756 | 0.01683% | 5.7% | -4.248%
2003 | 40969956.6072 | 2321382.4475 | 38907647.1094 | 41070754.4858 | 2244689.4516 | 40620859.4777 | -100797.8786 | 76692.9959 | -1713212.3683 | -0.2454% | 3.417% | -4.218%
2004 | 39739931.7149 | 2236828.4476 | 44218294.4767 | 39840650.7749 | 2158498.8349 | 45039018.9104 | -100719.06 | 78329.6126 | -820724.4337 | -0.2528% | 3.629% | -1.822%
2005 | 37411714.1037 | 2312346.3631 | 43169521.3594 | 37578855.038 | 2242852.1345 | 44721978.9856 | -167140.9343 | 69494.2286 | -1552457.6261 | -0.4448% | 3.098% | -3.471%
2006 | 36370298.8691 | 2244434.8027 | 37569959.5718 | 35478825.6759 | 2141353.6662 | 38558767.0463 | 891473.1932 | 103081.1365 | -988807.4745 | 2.513% | 4.814% | -2.564%
2007 | 34848571.7759 | 2131731.388 | 31016370.4461 | 35688663.509 | 2088462.5245 | 32654926.9421 | -840091.7331 | 43268.8635 | -1638556.496 | -2.354% | 2.072% | -5.018%
2008 | 34439595.673 | 1959805.781 | 31694230.5162 | 35489059.4036 | 1888270.5651 | 32093465.8599 | -1049463.7306 | 71535.2159 | -399235.3438 | -2.957% | 3.788% | -1.244%
2009 | 34371895.9607 | 1837383.3504 | 39627852.0593 | 34880094.9275 | 1775907.6419 | 40041934.0913 | -508198.9668 | 61475.7085 | -414082.032 | -1.457% | 3.462% | -1.034%
2010 | 33930344.8505 | 1727486.6673 | 39001062.6127 | 34448792.7606 | 1684569.8732 | 39412151.8147 | -518447.9101 | 42916.7941 | -411089.202 | -1.505% | 2.548% | -1.043%
2011 | 27584091.7588 | 1386406.0361 | 37103557.8921 | 27778780.279 | 1285650.1169 | 36990873.1548 | -194688.5202 | 100755.9192 | 112684.7373 | -0.7009% | 7.837% | 0.3046%
2012 | 25432782.9787 | 1415727.9647 | 36475901.3711 | 25397912.0246 | 1289702.2903 | 36090132.6772 | 34870.9541 | 126025.6744 | 385768.6939 | 0.1373% | 9.772% | 1.069%
2013 | 25307981.2915 | 1486172.0402 | 38315992.2825 | 25418456.9381 | 1415818.7157 | 38433965.4395 | -110475.6466 | 70353.3245 | -117973.157 | -0.4346% | 4.969% | -0.307%
2014 | 25526847.6016 | 1378020.2955 | 39313637.7701 | 25650810.5786 | 1306517.2368 | 39709567.585 | -123962.977 | 71503.0587 | -395929.8148 | -0.4833% | 5.473% | -0.9971%
2015 | 24678335.158 | 1337134.0269 | 28420669.2132 | 20170800.6145 | 1036862.8915 | 24953649.1165 | 4507534.5435 | 300271.1353 | 3467020.0967 | 22.35% | 28.96% | 13.89%

## Simul (hidden)
Beta 5 |  |  |  | Beta 4 |  |  | Annual Total load differrence |  |  | % Difference
Year | TNL | TPL | TSSL | TNL | TPL | TSSL | TNL | TPL | TSSL | TNL | TPL | TSSL
1984 | 33699246.7356 | 7331000.2955 | 89789451.2063 | 34101427.1638 | 7491843.2159 | 103215492.4495 | -402180.4282 | -160842.9204 | -13426041.2432 | -1.179% | -2.147% | -13.01%
1985 | 33785022.1214 | 7370183.154 | 90983460.9824 | 34270589.0764 | 7805278.9125 | 106211511.4079 | -485566.955 | -435095.7584 | -15228050.4255 | -1.417% | -5.574% | -14.34%
1986 | 34477961.3251 | 7072077.5915 | 92599427.6295 | 34985891.6888 | 7510093.1978 | 107740356.9428 | -507930.3638 | -438015.6063 | -15140929.3134 | -1.452% | -5.832% | -14.05%
1987 | 33970106.2662 | 6922919.7875 | 92240678.5012 | 34511337.124 | 7365692.8538 | 107349905.0208 | -541230.8578 | -442773.0663 | -15109226.5195 | -1.568% | -6.011% | -14.07%
1988 | 34425252.7861 | 6384805.0516 | 95643119.2397 | 34875886.8449 | 6806619.9983 | 110210382.4941 | -450634.0587 | -421814.9466 | -14567263.2544 | -1.292% | -6.197% | -13.22%
1989 | 35144192.9225 | 5936947.7077 | 97583546.0284 | 35682793.902 | 6380344.908 | 112633249.3977 | -538600.9794 | -443397.2003 | -15049703.3693 | -1.509% | -6.949% | -13.36%
1990 | 34247944.7377 | 5581685.4505 | 69578182.2684 | 34735575.7056 | 6028579.0145 | 81239782.0073 | -487630.9679 | -446893.564 | -11661599.7388 | -1.404% | -7.413% | -14.35%
1991 | 33877194.1266 | 5514174.102 | 69956946.7726 | 34317878.1803 | 5957418.1808 | 81555746.1381 | -440684.0537 | -443244.0788 | -11598799.3655 | -1.284% | -7.44% | -14.22%
1992 | 34907336.4462 | 5767213.627 | 73435311.994 | 35133534.6401 | 6180560.1245 | 84333948.7293 | -226198.1939 | -413346.4975 | -10898636.7353 | -0.6438% | -6.688% | -12.92%
1993 | 35416615.4591 | 5342103.451 | 74557769.8664 | 35718092.4323 | 5772664.083 | 86176080.0785 | -301476.9732 | -430560.632 | -11618310.2121 | -0.844% | -7.459% | -13.48%
1994 | 36586739.2386 | 5489696.3409 | 77464048.7563 | 37020608.2301 | 5934562.9946 | 88988435.2899 | -433868.9915 | -444866.6537 | -11524386.5336 | -1.172% | -7.496% | -12.95%
1995 | 34813620.0554 | 4995315.6064 | 77281370.4854 | 35268231.5234 | 5445551.4708 | 88699109.4829 | -454611.468 | -450235.8644 | -11417738.9975 | -1.289% | -8.268% | -12.87%
1996 | 38235866.7232 | 5550177.5149 | 79839238.9328 | 38781985.2432 | 5977412.5834 | 91446681.4166 | -546118.52 | -427235.0686 | -11607442.4838 | -1.408% | -7.147% | -12.69%
1997 | 33399207.5297 | 5111298.5233 | 68951341.2821 | 33962197.9374 | 5537505.2652 | 80395271.66 | -562990.4077 | -426206.7419 | -11443930.3779 | -1.658% | -7.697% | -14.23%
1998 | 36484684.5558 | 5527974.554 | 72360441.4696 | 37229860.0897 | 5971984.1299 | 84089385.1621 | -745175.5339 | -444009.576 | -11728943.6925 | -2.002% | -7.435% | -13.95%
1999 | 33150298.0458 | 5117607.0516 | 61497026.8255 | 33811459.5318 | 5314093.9651 | 71664372.3193 | -661161.486 | -196486.9135 | -10167345.4938 | -1.955% | -3.697% | -14.19%
2000 | 35176210.0882 | 5310491.1536 | 61492188.5775 | 35883751.6492 | 5710460.6133 | 72817842.5175 | -707541.5609 | -399969.4597 | -11325653.94 | -1.972% | -7.004% | -15.55%
2001 | 32527130.026 | 4980220.8768 | 55185552.1628 | 33375523.7618 | 5459734.7658 | 66645090.1835 | -848393.7358 | -479513.889 | -11459538.0208 | -2.542% | -8.783% | -17.19%
2002 | 32561909.6603 | 4931003.0846 | 58048079.0851 | 33653771.1364 | 5427913.0051 | 69204786.4119 | -1091861.4761 | -496909.9205 | -11156707.3268 | -3.244% | -9.155% | -16.12%
2003 | 36141215.6053 | 5145676.5578 | 67098641.313 | 36787934.3771 | 5676732.7583 | 78098118.1654 | -646718.7718 | -531056.2005 | -10999476.8524 | -1.758% | -9.355% | -14.08%
2004 | 32654137.9099 | 5012893.875 | 67990143.5596 | 33344251.732 | 5567519.0539 | 78664568.4405 | -690113.822 | -554625.1789 | -10674424.8809 | -2.07% | -9.962% | -13.57%
2005 | 31404188.1501 | 4438303.0574 | 64921270.7415 | 31723760.8578 | 4952334.5372 | 75008000.7271 | -319572.7077 | -514031.4798 | -10086729.9855 | -1.007% | -10.38% | -13.45%
2006 | 32987471.659 | 4419373.4694 | 65117405.8713 | 33247371.2954 | 4926683.9837 | 75341256.4005 | -259899.6363 | -507310.5144 | -10223850.5292 | -0.7817% | -10.3% | -13.57%
2007 | 32181736.594 | 4362286.977 | 44558581.336 | 32374450.7016 | 4894987.8122 | 51600775.1864 | -192714.1076 | -532700.8352 | -7042193.8505 | -0.5953% | -10.88% | -13.65%
2008 | 31794302.509 | 4118529.3161 | 43618764.4547 | 31848332.1523 | 4564695.5967 | 49731950.9442 | -54029.6433 | -446166.2806 | -6113186.4894 | -0.1696% | -9.774% | -12.29%
2009 | 30620714.6822 | 3949035.4545 | 41330510.1563 | 30692351.5811 | 4401480.0003 | 46567516.1109 | -71636.8988 | -452444.5458 | -5237005.9546 | -0.2334% | -10.28% | -11.25%
2010 | 29206401.7802 | 3477652.4758 | 41124723.7859 | 29081991.8595 | 3954050.7513 | 46616345.379 | 124409.9207 | -476398.2754 | -5491621.5931 | 0.4278% | -12.05% | -11.78%
2011 | 29736524.9458 | 3176389.6739 | 47575954.73 | 29588867.9912 | 3434166.645 | 56835023.4239 | 147656.9545 | -257776.9711 | -9259068.6939 | 0.499% | -7.506% | -16.29%
2012 | 26655798.2483 | 2996176.6416 | 45192320.2006 | 26603520.8601 | 2977314.6685 | 56263358.7388 | 52277.3881 | 18861.9731 | -11071038.5382 | 0.1965% | 0.6335% | -19.68%
2013 | 25168804.8455 | 2777675.0571 | 44760614.9375 | 25704906.6986 | 2827300.1737 | 55965092.8274 | -536101.8531 | -49625.1166 | -11204477.8899 | -2.086% | -1.755% | -20.02%
2014 | 24133891.5848 | 2514030.0455 | 46321643.2107 | 24493706.2669 | 2527065.1043 | 58339799.3999 | -359814.6821 | -13035.0588 | -12018156.1892 | -1.469% | -0.5158% | -20.6%
2015 | 20486362.024 | 2150308.9223 | 41984094.3829 | 14169039.8683 | 1375453.3274 | 35113661.6512 | 6317322.1557 | 774855.5949 | 6870432.7318 | 44.59% | 56.33% | 19.57%

## Poto (hidden)
Beta 5 |  |  |  | Beta 4 |  |  | Annual Total load differrence |  |  | % Difference
Year | TNL | TPL | TSSL | TNL | TPL | TSSL | TNL | TPL | TSSL | TNL | TPL | TSSL
1984 | 29787977.9364 | 2336753.2761 | 38477139.4516 | 29847995.8567 | 2326625.1429 | 38512158.5507 | -60017.9203 | 10128.1332 | -35019.0992 | -0.2011% | 0.4353% | -0.09093%
1985 | 29940585.7712 | 2261449.9724 | 38407291.1096 | 30026475.8272 | 2256358.9364 | 38718711.6535 | -85890.056 | 5091.036 | -311420.5439 | -0.286% | 0.2256% | -0.8043%
1986 | 29142212.5223 | 2084344.5399 | 38644535.7105 | 29242438.456 | 2079663.2194 | 38898236.9215 | -100225.9337 | 4681.3205 | -253701.211 | -0.3427% | 0.2251% | -0.6522%
1987 | 29969899.8187 | 2092458.6504 | 37861893.4071 | 30082433.5171 | 2090100.1916 | 38151205.2833 | -112533.6984 | 2358.4588 | -289311.8762 | -0.3741% | 0.1128% | -0.7583%
1988 | 31013172.2545 | 1789027.0277 | 37807007.827 | 31158497.2662 | 1781990.1191 | 38005637.5297 | -145325.0117 | 7036.9086 | -198629.7027 | -0.4664% | 0.3949% | -0.5226%
1989 | 31572545.5739 | 1712190.5395 | 42918748.2237 | 31778469.903 | 1708890.738 | 43194084.9643 | -205924.3291 | 3299.8015 | -275336.7406 | -0.648% | 0.1931% | -0.6374%
1990 | 31743276.0953 | 1655544.945 | 27838092.1298 | 31884672.9346 | 1652941.2571 | 28046188.7008 | -141396.8392 | 2603.6879 | -208096.5709 | -0.4435% | 0.1575% | -0.742%
1991 | 30970615.8708 | 1644576.0922 | 25699328.6759 | 31061713.845 | 1640279.7417 | 25916793.9804 | -91097.9742 | 4296.3505 | -217465.3045 | -0.2933% | 0.2619% | -0.8391%
1992 | 30969819.6135 | 1712986.6764 | 25980055.2956 | 31152105.9654 | 1700634.9924 | 26132568.3257 | -182286.3519 | 12351.684 | -152513.0302 | -0.5851% | 0.7263% | -0.5836%
1993 | 30177480.5361 | 1667023.478 | 26543513.199 | 30171640.7606 | 1646770.6488 | 26727621.3382 | 5839.7755 | 20252.8293 | -184108.1392 | 0.01936% | 1.23% | -0.6888%
1994 | 30314793.4771 | 1747655.197 | 30082803.5124 | 30380706.5637 | 1740436.3778 | 30356877.9308 | -65913.0866 | 7218.8191 | -274074.4184 | -0.217% | 0.4148% | -0.9028%
1995 | 29664792.4544 | 1624375.2851 | 26637713.3844 | 29661349.4737 | 1617138.0214 | 26900778.9788 | 3442.9808 | 7237.2637 | -263065.5944 | 0.01161% | 0.4475% | -0.9779%
1996 | 29685408.9593 | 1806215.1422 | 31464929.6117 | 29754106.0837 | 1805945.0775 | 31543577.3208 | -68697.1244 | 270.0647 | -78647.7091 | -0.2309% | 0.01495% | -0.2493%
1997 | 26279094.6559 | 1619227.2008 | 25252829.8637 | 26346065.4946 | 1619789.3321 | 25274223.1581 | -66970.8387 | -562.1313 | -21393.2944 | -0.2542% | -0.0347% | -0.08464%
1998 | 26460597.3104 | 1792067.7595 | 27194303.662 | 26762315.6276 | 1803596.0409 | 27516433.8443 | -301718.3172 | -11528.2814 | -322130.1823 | -1.127% | -0.6392% | -1.171%
1999 | 27635598.6462 | 1494703.6092 | 15867243.6851 | 27814941.1193 | 1510798.6815 | 16221477.5691 | -179342.4731 | -16095.0722 | -354233.884 | -0.6448% | -1.065% | -2.184%
2000 | 25754441.4271 | 1590261.0479 | 15313822.0794 | 25930994.2735 | 1602515.0405 | 15602831.8229 | -176552.8464 | -12253.9926 | -289009.7435 | -0.6809% | -0.7647% | -1.852%
2001 | 22187734.8535 | 1499646.7253 | 12914314.0694 | 22568020.1534 | 1545642.0648 | 13189703.5757 | -380285.2999 | -45995.3395 | -275389.5063 | -1.685% | -2.976% | -2.088%
2002 | 20382516.5064 | 1432347.3269 | 13021992.9883 | 20793317.1181 | 1489098.9456 | 13418209.3013 | -410800.6117 | -56751.6187 | -396216.313 | -1.976% | -3.811% | -2.953%
2003 | 19319728.0023 | 1577145.3272 | 16597614.1041 | 19642290.1925 | 1653511.7849 | 17265330.2604 | -322562.1901 | -76366.4577 | -667716.1562 | -1.642% | -4.618% | -3.867%
2004 | 16624343.0918 | 1395462.8205 | 19383667.2283 | 16938221.0363 | 1466114.7758 | 19262264.7187 | -313877.9444 | -70651.9553 | 121402.5096 | -1.853% | -4.819% | 0.6303%
2005 | 15819128.2054 | 1332977.9813 | 18630329.1857 | 16195297.607 | 1418114.172 | 19040903.835 | -376169.4016 | -85136.1907 | -410574.6493 | -2.323% | -6.003% | -2.156%
2006 | 15248339.362 | 1319347.5667 | 18645668.9212 | 15553831.6661 | 1387261.6637 | 18873313.8392 | -305492.3042 | -67914.097 | -227644.918 | -1.964% | -4.896% | -1.206%
2007 | 14102624.9627 | 1392373.5192 | 14801428.4519 | 14403876.2808 | 1457876.2156 | 14977010.2162 | -301251.318 | -65502.6964 | -175581.7642 | -2.091% | -4.493% | -1.172%
2008 | 14871082.8286 | 1315477.942 | 15536109.8542 | 15774476.7396 | 1390926.3808 | 15772343.9295 | -903393.9109 | -75448.4388 | -236234.0754 | -5.727% | -5.424% | -1.498%
2009 | 14093392.3516 | 1275417.3738 | 17822394.812 | 14405049.6199 | 1348459.929 | 18013559.1777 | -311657.2683 | -73042.5552 | -191164.3657 | -2.164% | -5.417% | -1.061%
2010 | 12946042.3069 | 1091105.762 | 17794781.5972 | 13285182.4953 | 1166488.6585 | 18039657.3452 | -339140.1884 | -75382.8965 | -244875.748 | -2.553% | -6.462% | -1.357%
2011 | 10786540.9217 | 732212.8107 | 21017075.9107 | 10941728.7923 | 774919.8134 | 20857107.2839 | -155187.8706 | -42707.0027 | 159968.6268 | -1.418% | -5.511% | 0.767%
2012 | 9752253.8781 | 703017.6666 | 20833652.7445 | 9687148.7519 | 695480.843 | 20423081.8081 | 65105.1262 | 7536.8236 | 410570.9364 | 0.6721% | 1.084% | 2.01%
2013 | 9698673.5526 | 652424.8767 | 21271316.0174 | 9836461.4328 | 669331.9816 | 21269352.8738 | -137787.8802 | -16907.1049 | 1963.1436 | -1.401% | -2.526% | 0.00923%
2014 | 10434969.8236 | 562171.0014 | 22651203.7464 | 10439527.1364 | 559981.7239 | 22772131.0438 | -4557.3128 | 2189.2775 | -120927.2974 | -0.04365% | 0.391% | -0.531%
2015 | 8689642.1037 | 536364.2541 | 15632084.4799 | 7474406.0898 | 399553.2931 | 11222381.0832 | 1215236.0138 | 136810.961 | 4409703.3967 | 16.26% | 34.24% | 39.29%
|  |  |  | 9993.9008 | 1336.083 | 8016.498

## SUSQ (hidden)
Beta 5 |  |  |  | Beta 4 |  |  | Annual Total load differrence |  |  | % Difference
Year | TNL | TPL | TSSL | TNL | TPL | TSSL | TNL | TPL | TSSL | TNL | TPL | TSSL
1984 | 20680415.422 | 4052856.3102 | 56224702.2915 | 21127737.4709 | 4214437.1087 | 69391039.575 | -447322.0489 | -161580.7984 | -13166337.2835 | -2.117% | -3.834% | -18.97%
1985 | 21164007.0782 | 4184150.294 | 57336623.4641 | 21668944.3283 | 4615427.7852 | 72176023.3348 | -504937.2501 | -431277.4911 | -14839399.8706 | -2.33% | -9.344% | -20.56%
1986 | 21389066.7166 | 4037150.7131 | 59488344.0574 | 21902866.899 | 4469625.6465 | 74249259.206 | -513800.1824 | -432474.9334 | -14760915.1486 | -2.346% | -9.676% | -19.88%
1987 | 21271010.4802 | 3876920.2696 | 61029022.5636 | 21802761.7875 | 4311955.4343 | 75768362.9525 | -531751.3073 | -435035.1647 | -14739340.3888 | -2.439% | -10.09% | -19.45%
1988 | 21123955.3686 | 3745228.4149 | 62241061.8956 | 21569388.6652 | 4163925.6203 | 76511622.9289 | -445433.2966 | -418697.2054 | -14270561.0334 | -2.065% | -10.06% | -18.65%
1989 | 20979251.3557 | 3516109.7131 | 63310142.6282 | 21620850.2563 | 3952468.7027 | 78002818.8661 | -641598.9007 | -436358.9896 | -14692676.2379 | -2.968% | -11.04% | -18.84%
1990 | 21234874.0309 | 3317684.7038 | 45053275.4278 | 21889719.0982 | 3756794.6191 | 56436114.2483 | -654845.0673 | -439109.9153 | -11382838.8205 | -2.992% | -11.69% | -20.17%
1991 | 21268685.9933 | 3193746.791 | 46078494.1157 | 21926364.468 | 3630754.0954 | 57388540.2933 | -657678.4747 | -437007.3043 | -11310046.1777 | -2.999% | -12.04% | -19.71%
1992 | 22034298.072 | 3303808.1478 | 48460254.0169 | 22393185.3525 | 3717066.53 | 59124993.0883 | -358887.2805 | -413258.3822 | -10664739.0714 | -1.603% | -11.12% | -18.04%
1993 | 22205830.2779 | 2778849.4731 | 49081762.6063 | 22809238.2701 | 3217327.5131 | 60448985.9873 | -603407.9922 | -438478.04 | -11367223.381 | -2.645% | -13.63% | -18.8%
1994 | 22581440.1378 | 2677339.6162 | 50812201.5937 | 23249022.5571 | 3117126.9445 | 61996047.0763 | -667582.4193 | -439787.3283 | -11183845.4825 | -2.871% | -14.11% | -18.04%
1995 | 21593172.6625 | 2467951.4529 | 51036249.134 | 22351918.7614 | 2913087.2055 | 62127172.9451 | -758746.0989 | -445135.7526 | -11090923.8111 | -3.395% | -15.28% | -17.85%
1996 | 23498612.1183 | 2808600.6415 | 52132332.9793 | 24276028.0353 | 3225505.392 | 63432252.965 | -777415.917 | -416904.7505 | -11299919.9857 | -3.202% | -12.93% | -17.81%
1997 | 19962118.3843 | 2498043.53 | 44616877.9101 | 20734846.4998 | 2898853.9859 | 55762182.6832 | -772728.1155 | -400810.4559 | -11145304.7732 | -3.727% | -13.83% | -19.99%
1998 | 22521947.5434 | 2773650.1298 | 46935144.6312 | 23230380.6655 | 3176011.478 | 58299081.839 | -708433.1221 | -402361.3481 | -11363937.2078 | -3.05% | -12.67% | -19.49%
1999 | 20598361.3339 | 2717322.0481 | 42774576.1819 | 21338815.8716 | 2864981.753 | 52581683.7511 | -740454.5377 | -147659.7049 | -9807107.5692 | -3.47% | -5.154% | -18.65%
2000 | 22691462.9368 | 2839072.8246 | 42384274.9392 | 23482065.2898 | 3190161.1898 | 53383152.6082 | -790602.353 | -351088.3652 | -10998877.669 | -3.367% | -11.01% | -20.6%
2001 | 21077829.3621 | 2682284.2635 | 39042571.579 | 21802669.1788 | 3078860.939 | 50150768.3383 | -724839.8167 | -396576.6755 | -11108196.7593 | -3.325% | -12.88% | -22.15%
2002 | 21597673.487 | 2687955.7573 | 40997756.5095 | 22538505.4547 | 3091785.6336 | 51796118.8296 | -940831.9677 | -403829.8763 | -10798362.3202 | -4.174% | -13.06% | -20.85%
2003 | 24140940.3509 | 2888889.1632 | 49172478.535 | 24707770.8755 | 3288854.1318 | 59744760.9939 | -566830.5246 | -399964.9685 | -10572282.4589 | -2.294% | -12.16% | -17.7%
2004 | 21954428.4717 | 2951814.3236 | 48303859.7724 | 22532686.6392 | 3367195.305 | 58564593.4406 | -578258.1675 | -415380.9814 | -10260733.6682 | -2.566% | -12.34% | -17.52%
2005 | 20386070.8318 | 2707012.8535 | 45589657.0875 | 20584744.6028 | 3074030.2611 | 55243668.7229 | -198673.7709 | -367017.4076 | -9654011.6354 | -0.9652% | -11.94% | -17.48%
2006 | 22363834.2825 | 2786322.2465 | 46566702.8441 | 22533977.0125 | 3157111.0676 | 56370236.8061 | -170142.7299 | -370788.8211 | -9803533.962 | -0.755% | -11.74% | -17.39%
2007 | 22249270.047 | 2665789.0487 | 29324798.4215 | 22309758.4044 | 3059271.6517 | 35975417.6415 | -60488.3573 | -393482.603 | -6650619.22 | -0.2711% | -12.86% | -18.49%
2008 | 21826638.7875 | 2564362.9331 | 29013643.6457 | 21788642.0936 | 2875257.9666 | 34836195.1496 | 37996.6939 | -310895.0335 | -5822551.5039 | 0.1744% | -10.81% | -16.71%
2009 | 20766459.4429 | 2438895.8685 | 24308076.6075 | 20730436.477 | 2750212.6384 | 29187103.8905 | 36022.9659 | -311316.77 | -4879027.2831 | 0.1738% | -11.32% | -16.72%
2010 | 19616448.7778 | 2222761.0352 | 23858912.4055 | 19380401.1745 | 2562117 | 28950833.5567 | 236047.6033 | -339355.9648 | -5091921.1512 | 1.218% | -13.25% | -17.59%
2011 | 21241895.6972 | 2153990.5797 | 29244234.4661 | 21169127.4148 | 2341364.6129 | 38538578.6099 | 72768.2824 | -187374.0331 | -9294344.1438 | 0.3437% | -8.003% | -24.12%
2012 | 18667006.6595 | 2081740.7064 | 26070271.5059 | 18814128.6857 | 2076107.0788 | 37524296.5977 | -147122.0262 | 5633.6276 | -11454025.0919 | -0.782% | 0.2714% | -30.52%
2013 | 17127515.574 | 1890850.239 | 25099826.5439 | 17524324.2639 | 1929189.6147 | 36362284.9832 | -396808.6899 | -38339.3757 | -11262458.4393 | -2.264% | -1.987% | -30.97%
2014 | 16191713.661 | 1771409.1941 | 25926475.8196 | 16550335.6321 | 1792694.8618 | 37930346.2799 | -358621.9711 | -21285.6677 | -12003870.4603 | -2.167% | -1.187% | -31.65%
2015 | 12995077.342 | 1401276.1691 | 22850843.0512 | 8144515.5417 | 784295.8449 | 20535857.7106 | 4850561.8003 | 616980.3242 | 2314985.3406 | 59.56% | 78.67% | 11.27%
|  |  |  | 11592.925 | 1549.8563 | 9299.1377

## Patux (hidden)
Beta 5 |  |  |  | Beta 4 |  |  | Annual Total load differrence |  |  | % Difference
Year | TNL | TPL | TSSL | TNL | TPL | TSSL | TNL | TPL | TSSL | TNL | TPL | TSSL
1984 | 1997598.7265 | 343898.8361 | 1090945.0308 | 1980581.2429 | 339589.7837 | 1051139.0524 | 17017.4836 | 4309.0524 | 39805.9784 | 0.8592% | 1.269% | 3.787%
1985 | 1909020.8335 | 343595.2048 | 828747.9708 | 1893572.6257 | 354525.7257 | 813415.2319 | 15448.2077 | -10930.5209 | 15332.7389 | 0.8158% | -3.083% | 1.885%
1986 | 2001426.2292 | 171092.3879 | 941951.0959 | 1985978.0215 | 182022.9089 | 926618.3571 | 15448.2077 | -10930.5209 | 15332.7389 | 0.7779% | -6.005% | 1.655%
1987 | 2067431.0352 | 153880.7405 | 856071.5406 | 2051749.9644 | 164811.2615 | 840720.9324 | 15681.0708 | -10930.5209 | 15350.6082 | 0.7643% | -6.632% | 1.826%
1988 | 2032982.9474 | 141259.1727 | 778100.2449 | 2015048.5294 | 151800.3672 | 758641.3321 | 17934.4179 | -10541.1945 | 19458.9128 | 0.89% | -6.944% | 2.565%
1989 | 2114041.9889 | 150414.4147 | 1008055.9793 | 2097421.813 | 161526.1223 | 992701.4494 | 16620.1759 | -11111.7077 | 15354.5298 | 0.7924% | -6.879% | 1.547%
1990 | 2172647.9962 | 136575.6966 | 686763.1223 | 2144269.4332 | 147568.4497 | 657856.3427 | 28378.563 | -10992.7531 | 28906.7796 | 1.323% | -7.449% | 4.394%
1991 | 1697929.6561 | 124821.9284 | 680475.4678 | 1669551.0931 | 135814.6815 | 651568.6881 | 28378.563 | -10992.7531 | 28906.7796 | 1.7% | -8.094% | 4.436%
1992 | 1355536.5828 | 127150.9833 | 665491.0744 | 1324067.3444 | 137736.3423 | 631308.5697 | 31469.2384 | -10585.359 | 34182.5047 | 2.377% | -7.685% | 5.415%
1993 | 1226296.6125 | 131095.359 | 620470.1161 | 1198150.9125 | 142088.1121 | 591581.2058 | 28145.6999 | -10992.7531 | 28888.9103 | 2.349% | -7.737% | 4.883%
1994 | 1115118.2151 | 120525.6157 | 629734.2716 | 1087192.5492 | 131529.8064 | 600849.6381 | 27925.6659 | -11004.1908 | 28884.6335 | 2.569% | -8.366% | 4.807%
1995 | 1214052.2554 | 125237.4993 | 553479.7867 | 1179891.7435 | 136893.5363 | 524594.1475 | 34160.5119 | -11656.0371 | 28885.6392 | 2.895% | -8.515% | 5.506%
1996 | 1211708.3411 | 118734.195 | 589130.5335 | 1204814.1466 | 132973.4729 | 573755.6284 | 6894.1946 | -14239.2779 | 15374.9051 | 0.5722% | -10.71% | 2.68%
1997 | 1114800.7148 | 119528.1822 | 624918.4531 | 1112712.486 | 134577.5026 | 609613.3022 | 2088.2288 | -15049.3204 | 15305.151 | 0.1877% | -11.18% | 2.511%
1998 | 1186957.3697 | 109849.7496 | 586508.5739 | 1193353.8491 | 127963.9288 | 571810.239 | -6396.4794 | -18114.1792 | 14698.3349 | -0.536% | -14.16% | 2.57%
1999 | 1059165.0453 | 98496.7798 | 467388.1872 | 1062557.234 | 116985.2015 | 447539.0632 | -3392.1887 | -18488.4217 | 19849.124 | -0.3192% | -15.8% | 4.435%
2000 | 1117910.0674 | 104077.1546 | 422982.7511 | 1121584.7366 | 122762.5764 | 403079.2461 | -3674.6692 | -18685.4218 | 19903.505 | -0.3276% | -15.22% | 4.938%
2001 | 1064380.2168 | 97234.0579 | 446103.7222 | 1068351.6745 | 115871.0846 | 426620.7005 | -3971.4576 | -18637.0266 | 19483.0216 | -0.3717% | -16.08% | 4.567%
2002 | 1073692.3027 | 102932.4564 | 471093.2261 | 1089790.6383 | 128037.3562 | 465690.9082 | -16098.3356 | -25104.8997 | 5402.3179 | -1.477% | -19.61% | 1.16%
2003 | 1130010.6059 | 99578.2969 | 560170.6882 | 1159429.9063 | 131655.4392 | 574361.0449 | -29419.3004 | -32077.1424 | -14190.3568 | -2.537% | -24.36% | -2.471%
2004 | 901609.3556 | 94534.4251 | 693468.9484 | 932508.9688 | 127456.8439 | 713943.2356 | -30899.6132 | -32922.4188 | -20474.2872 | -3.314% | -25.83% | -2.868%
2005 | 674708.5035 | 79006.6292 | 548717.1986 | 713892.9925 | 116249.1815 | 582235.5294 | -39184.489 | -37242.5523 | -33518.3308 | -5.489% | -32.04% | -5.757%
2006 | 641202.9135 | 76772.8488 | 477876.9453 | 690750.899 | 119421.4162 | 528473.5569 | -49547.9855 | -42648.5674 | -50596.6116 | -7.173% | -35.71% | -9.574%
2007 | 746254.8577 | 95560.3596 | 410270.1336 | 801017.9257 | 140822.1709 | 467433.3157 | -54763.0681 | -45261.8113 | -57163.182 | -6.837% | -32.14% | -12.23%
2008 | 813772.4443 | 83810.4594 | 414440.5168 | 877723.8708 | 133154.5322 | 488225.0738 | -63951.4265 | -49344.0728 | -73784.557 | -7.286% | -37.06% | -15.11%
2009 | 826533.7857 | 73686.3381 | 649479.9048 | 890823.4153 | 121881.4723 | 730646.1304 | -64289.6297 | -48195.1342 | -81166.2257 | -7.217% | -39.54% | -11.11%
2010 | 831915.565 | 77996.9991 | 640720.9969 | 892589.1164 | 124136.7842 | 716638.7326 | -60673.5513 | -46139.785 | -75917.7357 | -6.797% | -37.17% | -10.59%
2011 | 819436.0564 | 62014.2958 | 507198.0531 | 843732.0355 | 84554.9654 | 509470.2827 | -24295.979 | -22540.6696 | -2272.2295 | -2.88% | -26.66% | -0.446%
2012 | 638264.3413 | 62537.4563 | 535007.3569 | 632043.5881 | 62358.9057 | 497351.5499 | 6220.7531 | 178.5506 | 37655.8069 | 0.9842% | 0.2863% | 7.571%
2013 | 727082.5913 | 65451.6015 | 615723.9002 | 727082.5915 | 65451.6016 | 617900.1881 | -0.00017985 | -5.9496e-05 | -2176.2879 | -2.474e-08% | -9.09e-08% | -0.3522%
2014 | 682447.8543 | 58375.7149 | 696161.9568 | 682009.1303 | 58373.4503 | 697992.2246 | 438.724 | 2.2646 | -1830.2677 | 0.06433% | 0.003879% | -0.2622%
2015 | 657427.6445 | 49501.0723 | 565922.8375 | 387844.2945 | 21480.6456 | 361246.7176 | 269583.35 | 28020.4267 | 204676.12 | 69.51% | 130.4% | 56.66%
|  |  |  | 11592.925 | 1549.8563 | 9299.1377