## Sheet1
Wastewater Discharged/EOS Load Summary by State
| TN Discharged Loads (lbs/yr) |  |  | TP Discharged Loads (lbs/yr) |  |  | TSS Discharged Loads (lbs/yr)
STATE | 2010 | 2011 | Reduction | 2010 | 2011 | Reduction | 2010 | 2011 | Reduction
DE | 53553.1892 | 40726.4321 | 12826.7571 | 5563.8492 | 5540.4692 | 23.38 | 25894.663 | 13109.0847 | 12785.5782
DC | 2192565.3858 | 1811039.179 | 381526.2068 | 27455.3005 | 44021.3456 | -16566.0451 | 550517.9107 | 1201986.0106 | -651468.0998
MD | 15792823.0846 | 14121094.1594 | 1671728.9252 | 932951.2037 | 841504.561 | 91446.6427 | 10064085.7057 | 9408849.8509 | 655235.8548
NY | 2747725.0103 | 2738523.5323 | 9201.4779 | 424303.4694 | 399077.6828 | 25225.7865 | 3030100.953 | 2332570.4461 | 697530.507
PA | 18149463.9173 | 17356398.714 | 793065.2033 | 2372310.3945 | 2258533.9461 | 113776.4483 | 27040318.9805 | 29060433.6185 | -2020114.638
VA | 25195393.0906 | 19194095.0263 | 6001298.0644 | 1848447.2205 | 1318660.441 | 529786.7794 | 44569910.2878 | 40636809.0745 | 3933101.2133
WV | 850312.2793 | 854522.7913 | -4210.512 | 214251.1495 | 190906.8511 | 23344.2985 | 1500952.8618 | 1514922.2795 | -13969.4177
Total | 64981835.957 | 56116399.8344 | 8865436.1226 | 5825282.5872 | 5058245.2968 | 767037.2904 | 86781781.3625 | 84168680.3648 | 2613100.9978
Wastewater Delivered Load Summary by State
| TN Delivered Loads (lbs/yr) |  |  | TP Delivered Loads (lbs/yr) |  |  | TSS Delivered Loads (lbs/yr)
STATE | 2010 | 2011 | Reduction | 2010 | 2011 | Reduction | 2010 | 2011 | Reduction
DE | 53553.1892 | 40726.4321 | 12826.7571 | 5563.8492 | 5540.4692 | 23.38 | 25894.663 | 13109.0847 | 12785.5782
DC | 2192565.3858 | 1811039.179 | 381526.2068 | 27455.3005 | 44021.3456 | -16566.0451 | 550517.9107 | 1201986.0106 | -651468.0998
MD | 14293200.0242 | 12859559.3051 | 1433640.7192 | 737734.7335 | 671992.1314 | 65742.6021 | 9080857.0436 | 8505848.7139 | 575008.3298
NY | 1226973.7991 | 1249397.3025 | -22423.5034 | 162058.1877 | 152392.5641 | 9665.6235 | 1179829.9013 | 907757.7272 | 272072.1741
PA | 10982895.4713 | 10539388.4801 | 443506.9912 | 935019.8853 | 905609.906 | 29409.9792 | 11003229.4851 | 11891147.4983 | -887918.0132
VA | 21752809.8937 | 16184250.3066 | 5568559.5871 | 1561467.7066 | 1116322.1639 | 445145.5427 | 41856826.3928 | 38373286.5174 | 3483539.8754
WV | 280817.1118 | 291516.6448 | -10699.533 | 99384.4151 | 88793.6911 | 10590.724 | 648774.5823 | 773501.8956 | -124727.3133
Total | 50782814.8751 | 42975877.6501 | 7806937.225 | 3528684.0777 | 2984672.2712 | 544011.8065 | 64345929.9788 | 61666637.4477 | 2679292.5311
NOTE:
1) 2011 Data Reporting Periods: 1/1/2011 - 12/31/2011 for DC and VA, 7/1/2010 - 6/30/2011 for NY, PA, MD, WV and DE
2) Blue Plains loads were allocated among DC, MD and VA.
3) Nonsignificant facilities used in 2010 and 2009 were added into 2011 if the nonsign facility data were not provided for 2011.

## Sheet2 (hidden)
STATE | TNL (lbs/yr) | TPL (lbs/yr) | TSSL (lbs/yr) | TNL (lbs/yr) | TPL (lbs/yr) | TSSL (lbs/yr) | TNL (lbs/yr) | TPL (lbs/yr) | TSSL (lbs/yr)
DE | 40726.4321 | 6740.5525 | 13109.0847 | 40824.1772 | 6648.8474 | 24355.6589 | -97.7451 | 91.7051 | -11246.5742
DC | 1811039.179 | 44021.3456 | 1201986.0106 | 1811039.179 | 44021.3456 | 1201986.0106 | 0 | 0 | 0
MD | 14121094.1594 | 841504.561 | 9408849.8509 | 14121094.1594 | 841504.561 | 9408849.8509 | 0 | 0 | 0
NY | 2738523.5323 | 399077.6828 | 2332570.4461 | 2738523.5323 | 399077.6828 | 2332570.4461 | 0 | 0 | 0
PA | 17356398.714 | 2258533.9461 | 29060433.6185 | 18124160.8542 | 2295983.7992 | 28774042.6861 | -767762.1402 | -37449.8531 | 286390.9323
VA | 19194095.0263 | 1318660.441 | 40636809.0745 | 19291588.655 | 1618946.1363 | 41387953.5827 | -97493.6287 | -300285.6953 | -751144.5082
WV | 854522.7913 | 190906.8511 | 1514922.2795 | 854522.7913 | 190906.8511 | 1514922.2795 | 0 | 0 | 0
STATE | TNL | TPL | TSSL | TNDL | TPDL | TSSDL
10 | 40726.4321 | 5540.4692 | 13109.0847 | 40726.4321 | 5540.4692 | 13109.0847
11 | 1811039.179 | 44021.3456 | 1201986.0106 | 1811039.179 | 44021.3456 | 1201986.0106
24 | 14121094.1594 | 841504.561 | 9408849.8509 | 12859559.3051 | 671992.1314 | 8505848.7139
36 | 2738523.5323 | 399077.6828 | 2332570.4461 | 1249397.3025 | 152392.5641 | 907757.7272
42 | 17356398.714 | 2258533.9461 | 29060433.6185 | 10539388.4801 | 905609.906 | 11891147.4983
51 | 19194095.0263 | 1318660.441 | 40636809.0745 | 16184250.3066 | 1116322.1639 | 38373286.5174
54 | 854522.7913 | 190906.8511 | 1514922.2795 | 291516.6448 | 88793.6911 | 773501.8956