## Slide 1: Climate Allocation Decisions
Update to WQGIT 6/22/2020 presentation with:
Additional graphics showing combined N and P
An additional option for WWTP line at 8 and 4 mg/l
An analysis of WIP load trends vs climate loads

## Slide 2
4.5 mg/l
8 mg/l
Wastewater Loads

## Slide 3
8 mg/l
Wastewater Loads
20 percent slope
Non-WW loads
+ adjustments to WV and NY loads
Intercept wherever it needed to be for acceptable water quality

## Slide 4
8 mg/l
Wastewater Loads
One or both lines move up
- higher effort
- lower loads
- more reductions needed

## Slide 5: WQGIT Climate Allocation Decisions
Year
  2025 or 2035?
  Link target year and implementation?
Watershed loads first
  Allocate all necessary reductions through planning target method
    or
  Take out jurisdictional climate-related increases in loads first and allocate any remainder
WWTP loads included in jurisdictional allocation calculations
  Only non-WWTP sources
  Increase WWTP with non-WWTP
  Set WWTP at 6 and 4.5 TN
    .22 and .364 TP
  Set WWTP and 6 and 4 TN
    .18 and .364 TP
Open Water
  Do not consider open water at this time for climate allocations

## Slide 6: WQGIT Climate Allocation Decisions
Year
  2025 or 2035?
  Link target year and implementation?
Watershed loads first
  Allocate all necessary reductions through planning target method
    or
  Take out jurisdictional climate-related increases in loads first and allocate any remainder
WWTP loads included in jurisdictional allocation calculations
  Only non-WWTP sources
  Increase WWTP with non-WWTP
  Set WWTP at 6 and 4.5 TN
    .22 and .364 TP
  Set WWTP and 6 and 4 TN
    .18 and .364 TP
Open Water
  Do not consider open water at this time for climate allocations

## Slide 7
2017 Planning Targets
Prior to exchanges and exceptions

## Slide 8
2025 climate
All Allocation
NPS only
+3.6%

## Slide 9
2035 climate
All Allocation
NPS only
+7.5%

## Slide 10: Nitrogen Total Reductions
2035 increases effort from about 6 Mlbs to about 11 Mlbs

## Slide 11: Phosphorus Total Reductions
2035 increases effort from about .5 Mlbs to about 1 Mlbs

## Slide 12: Combined Total Reductions
2035 increases effort from about .5 Mlbs to about 1 Mlbs
Combined is N reduction plus P reduction converted to N by exchange ratios

## Slide 13: WQGIT Climate Allocation Decisions
Year
  2025 or 2035?
  Link target year and implementation?
Watershed loads first
  Allocate all necessary reductions through planning target method
    or
  Take out jurisdictional climate-related increases in loads first and allocate any remainder
WWTP loads included in jurisdictional allocation calculations
  Only non-WWTP sources
  Increase WWTP with non-WWTP
  Set WWTP at 6 and 4.5 TN
    .22 and .364 TP
  Set WWTP and 6 and 4 TN
    .18 and .364 TP
Open Water
  Do not consider open water at this time for climate allocations

## Slide 14: WQGIT Climate Allocation Decisions
Year
  2025 or 2035?
  Link target year and implementation?
Watershed loads first
  Allocate all necessary reductions through planning target method
    or
  Take out jurisdictional climate-related increases in loads first and allocate any remainder
WWTP loads included in jurisdictional allocation calculations
  Only non-WWTP sources
  Increase WWTP with non-WWTP
  Set WWTP at 6 and 4.5 TN
    .22 and .364 TP
  Set WWTP and 6 and 4 TN
    .18 and .364 TP
Open Water
  Do not consider open water at this time for climate allocations

## Slide 15: Nitrogen Total Reductions
‘Watershed first’ doesn’t make much difference for N at the CB watershed scale

## Slide 16: Phosphorus Total Reductions
‘Watershed first’ increases P reductions because P loads increase more from climate than N.

## Slide 17: Combined Total Reductions
After conversion of P to N, Watershed First is a slightly higher load reduction scenario.
Combined is N reduction plus P reduction converted to N by exchange ratios

## Slide 18: Nitrogen Total Reductions
‘Watershed first’ increases reduction from
  NY, VA
  DC in 2025, WV in 2035
‘Watershed first’ decreases reduction from
  DE, MD, PA
  WV in 2025, DC in 2035
‘NPS only’ allocation option

## Slide 19: Phosphorus Total Reductions
‘Watershed first’ increases reduction from
  MD, NY, VA
  PA, WV in 2035
‘Watershed first’ decreases reduction from
  DE, DC
  PA, WV in 2025
‘NPS only’ allocation option

## Slide 20: Combined Total Reductions
‘NPS only’ allocation option
‘Watershed first’ increases reduction from
  NY, VA
  DC in 2025, WV in 2035
‘Watershed first’ decreases reduction from
  DE, MD, PA
  WV in 2025, DC in 2035
Combined is N reduction plus P reduction converted to N by exchange ratios

## Slide 21: Question from WQGIT
Assuming more of the same types of practices that are in our WIPs are implemented for climate change…
  And
Assuming we aim at the nitrogen reduction
Will we hit the P reduction?

## Slide 22: Answer: Not for ‘loads first’, maybe for ‘allocate all’
‘Loads 1st’ and ‘allocate all are the lbs P needed for each lb N for those allocation methods
‘WIP-2018’ and ‘2018-2000’ are lbs P per lb N for those periods
For all jurisdictions, the planned implementation ratio is not sufficient for ‘loads 1st’. This is a reasonable result considering that climate affects P more than N.
* WV has a negative climate N load

## Slide 23: WQGIT Climate Allocation Decisions
Year
  2025 or 2035?
  Link target year and implementation?
Watershed loads first
  Allocate all necessary reductions through planning target method
    or
  Take out jurisdictional climate-related increases in loads first and allocate any remainder
WWTP loads included in jurisdictional allocation calculations
  Only non-WWTP sources
  Increase WWTP with non-WWTP
  Set WWTP at 6 and 4.5 TN
    .22 and .364 TP
  Set WWTP and 6 and 4 TN
    .18 and .364 TP
Open Water
  Do not consider open water at this time for climate allocations

## Slide 24: Year and watershed loads decisions
At the 6/22/2020 WQGIT, members indicated strong interest in the ‘year 2025’ scenarios. There was also considerable interest in the ‘watershed loads first’ scenario.
If these two scenarios are chosen, then there is no allocation beyond the watershed loads and there is no need to choose a WWTP scenario.
The WWTP scenarios that specify concentrations for the WWTP line (6and4, 6and4.5, 8and4) cause the ‘all other’ line to decrease for the ‘2025 watershed load first’ scenarios.

## Slide 25: WQGIT Climate Allocation Decisions
Year
  2025 or 2035?
  Link target year and implementation?
Watershed loads first
  Allocate all necessary reductions through planning target method
    or
  Take out jurisdictional climate-related increases in loads first and allocate any remainder
WWTP loads included in jurisdictional allocation calculations
  Only non-WWTP sources
  Increase WWTP with non-WWTP
  Set WWTP at 6 and 4.5 TN
    .22 and .364 TP
  Set WWTP and 6 and 4 TN
    .18 and .364 TP
Open Water
  Do not consider open water at this time for climate allocations

## Slide 26
2017 Planning Targets
Prior to exchanges and exceptions

## Slide 27
2035 climate
All Allocation
NPS only
+7.5%
It would take 7.5% additional effort toward E3 if only using non-WWTP

## Slide 28
2035 climate
All Allocation
6 and 4.5 mg/l
+7.1%
Raising the 8 mg/l areas to 6 mg/l does not have much of an effect due to the less-effective location of those areas

## Slide 29
2035 climate
All Allocation
6 and 4 mg/l
+4.4%
Raising the 4.5 mg/l areas to 4 mg/l has a significant easing effect on areas that are NPS-dominated by bringing in more effective areas

## Slide 30
2035 climate
All Allocation
8 and 4 mg/l
+4.8%
Lowering the 6 mg/l areas back to 8 mg/l does not have a large effect on areas that are NPS-dominated.

## Slide 31
2035 climate
All Allocation
NPS + WWTP
+4.1%
Adopting the rule that NPS and PS move together has a similar result to setting the upper PS limit at 4 mg/l for 2035.
A significant difference in policy is whether WWTP continues to move for future policy decisions or is always set based on a concentration

## Slide 32
2017 Planning Targets
Prior to exchanges and exceptions

## Slide 33
2017 Planning Targets
Prior to exchanges and exceptions

## Slide 34
2035 climate
All Allocation
NPS only
+7.5%
It would take 7.5% additional effort toward E3 if only using non-WWTP

## Slide 35
2035 climate
All Allocation
6 and 4.5 mg/l
.364 and .22 mg/l P
+6.3%
Raising the .54 mg/l areas to .364 mg/l does not have much of an effect due to the less-effective location of those areas
Same fraction toward 100% as N

## Slide 36
2035 climate
All Allocation
6 and 4 mg/l
.364 and .18 mg/l P
+3.7%
Raising the .22 mg/l areas to .18 mg/l has a significant easing effect on areas that are NPS-dominated by bringing in more effective areas

## Slide 37
2035 climate
All Allocation
8 and 4 mg/l
.54 and .18 mg/l P
+4.9%
Lowering the .364 mg/l areas back to .54 mg/l has more of a phosphorus effect on areas that are NPS-dominated

## Slide 38
2035 climate
All Allocation
NPS + WWTP
+2.4%
Adopting the rule that NPS and PS move together moves TP very close to E3 (98.3%)
A significant difference in policy is whether WWTP continues to move for future policy decisions or is always set based on a concentration

## Slide 39
2017 Planning Targets
Prior to exchanges and exceptions

## Slide 40: Nitrogen Total Reductions
Raising the upper part of the WWTP line (8and4) adds no reduction
Shifting the lower part of the WWTP (other scenarios) adds reduction
Bringing the lower WWTP limit up to 6 mg/l adds a significant amount of reduction

## Slide 41: Phosphorus Total Reductions
Raising the upper part of the WWTP line (8and4) adds no reduction
Shifting the lower part of the WWTP (other scenarios) adds reduction
Bringing the lower WWTP limit up to .364 mg/l adds a significant amount of reduction

## Slide 42: Combined Total Reductions
Combined is N reduction plus P reduction converted to N by exchange ratios
Raising the upper part of the WWTP line (8and4) adds no reduction
Shifting the lower part of the WWTP (other scenarios) adds reduction
Bringing the lower WWTP limit up to 6 mg/l adds a significant amount of reduction

## Slide 43: Nitrogen Total Reductions
Raising the upper part of the WWTP line (8and4, 6and4, NPS+PS)
  Decreases DE, NY, PA, WV effort
  Increases DC, MD, VA effort
Raising the lower part of the WWTP line (6and4.5)
  Increases VA effort
  Decreases everyone else’s effort
All allocation, 2025

## Slide 44: Phosphorus Total Reductions
All allocation, 2025
Raising the upper part of the WWTP line (8and4, 6and4, NPS+PS)
  Decreases DE, NY, PA, WV effort
  Increases DC, MD, VA effort
Raising the lower part of the WWTP line (6and4.5)
  Increases VA effort
  Decreases everyone else’s effort

## Slide 45: Combined Total Reductions
All allocation, 2035
Raising the upper part of the WWTP line (8and4, 6and4, NPS+PS)
  Decreases DE, NY, PA, WV effort
  Increases DC, MD, VA effort
Raising the lower part of the WWTP line (6and4.5)
  Increases VA effort
  Decreases everyone else’s effort
Combined is N reduction plus P reduction converted to N by exchange ratios

## Slide 46: WQGIT Climate Allocation Decisions
Year
  2025 or 2035?
  Link target year and implementation?
Watershed loads first
  Allocate all necessary reductions through planning target method
    or
  Take out jurisdictional climate-related increases in loads first and allocate any remainder
WWTP loads included in jurisdictional allocation calculations
  Only non-WWTP sources
  Increase WWTP with non-WWTP
  Set WWTP at 6 and 4.5 TN
    .22 and .364 TP
  Set WWTP and 6 and 4 TN
    .18 and .364 TP
Open Water
  Do not consider open water at this time for climate allocations

## Slide 47
Load reduction options 2020 06 25.xlsx

## Slide 48: WQGIT Climate Allocation Decisions
Year
  2025 or 2035?
  Link target year and implementation?
Watershed loads first
  Allocate all necessary reductions through planning target method
    or
  Take out jurisdictional climate-related increases in loads first and allocate any remainder
WWTP loads included in jurisdictional allocation calculations
  Only non-WWTP sources
  Increase WWTP with non-WWTP
  Set WWTP at 6 and 4.5 TN
    .22 and .364 TP
  Set WWTP and 6 and 4 TN
    .18 and .364 TP
Open Water
  Do not consider open water at this time for climate allocations